## Sheet1
问题 | 答案
1. Details about Symbol Explanation in the EC-7/11/22K-T EV charger. 2. What is the safety Instruction in the EC-7/11/22K-T EV charger? 3. What is the Symbols used in this manual in the EC-7/11/22K-T EV charger? 4. Details about Symbol Explanation in the EC-7/11/22K-UT EV charger. 5. What is the safety Instruction in the EC-7/11/22K-UT EV charger? 6. What is the Symbols used in this manual in the EC-7/11/22K-UT EV charger? | This is a EC-7/11/22K EV charger. Below is Symbols used in this manual in the Safety Instructions. Read and observe the following safety precautions before you install, service, or use your EnValt AC EV Charger. The installer must ensure that the EV Charger is installed in accordance with the relevant country-specific standards, and local regulations. The following link is a corresponding description list of Symbols uesd. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626133652947.png
1. Details about EV Charger safety precautions in the EC-7/11/22K-T EV charger. 2. What is the safety Instruction in the EC-7/11/22K-T EV charger? 3. What do I need to pay attention to in the EC-7/11/22K-T EV charger? 4. Details about EV Charger safety precautions in the EC-7/11/22K-UT EV charger. 5. What is the safety Instruction in the EC-7/11/22K-UT EV charger? 6. What do I need to pay attention to in the EC-7/11/22K-UT EV charger? | This is a EC-7/11/22K EV charger. Below are EV Charger safety precautions in the Safety Instructions. Here are the cautions. The following links are two schematic diagrams of the caution. 1.https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626134817041.png 2. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626134821210.png
1. Details about Safety Labels on the packaging in the EC-7/11/22K-T EV charger. 2. What is the safety Instruction in the EC-7/11/22K-T EV charger? 3. What do safety labels on the packaging mean in the EC-7/11/22K-T EV charger? 4. Details about Safety Labels on the packaging in the EC-7/11/22K-UT EV charger. 5. What is the safety Instruction in the EC-7/11/22K-UT EV charger? 6. What do safety labels on the packaging mean in the EC-7/11/22K-UT EV charger? | This is a EC-7/11/22K EV charger. Below is Safety Labels on the packaging in the Safety Instructions. The following link is a corresponding description list of Safety Labels on the packaging. 1. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626135448746.png 2. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626135452898.png
1. Details about Product introduction and naming rules in the EC-7/11/22K-T EV charger. 2. What is the Product Specification in the EC-7/11/22K-T EV charger? 3. Details about Product introduction and naming rules in the EC-7/11/22K-UT EV charger. 4. What is the Product Specification in the EC-7/11/22K-UT EV charger? | This is a EC-7/11/22K EV charger. Below are Product introduction and naming rules in the Product Specification. EnValt 7/11/22kW AC EV Charger can easily and quickly replenish electric energy for vehicles, and the humanized design brings a pleasant charging experience. The following link is a schematic diagram of the naming rules for EnValt AC EV Charger. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626140248333.png
1. Details about Product and specifications in the EC-7/11/22K-T EV charger. 2. What is the Product Specification in the EC-7/11/22K-T EV charger? 3. Details about Product and specifications in the EC-7/11/22K-UT EV charger. 4. What is the Product Specification in the EC-7/11/22K-UT EV charger? | This is a EC-7/11/22K EV charger. Below are Product and specifications in the Product Specification. The following links are two schematic diagrams of Product and specifications. 1.https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626141224268.png 2. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626141230698.png
1. What is the Schematic Topology of 7kW AC Charger in the EC-7/11/22K-T EV charger? 2. What is the Schematic Topology of 7kW AC Charger in the EC-7/11/22K-UT EV charger? | This is a EC-7/11/22K EV charger. Below is the Schematic Topology of 7kW AC Charger. The following link is a schematic diagram, which shows the Topology of 7kW AC Charger. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626144135093.png
1. What is the Schematic Topology of 11/22kW AC Charger in the EC-7/11/22K-T EV charger? 2. What is the Schematic Topology of 11/22kW AC Charger in the EC-7/11/22K-UT EV charger? | This is a EC-7/11/22K EV charger. Below is the Schematic Topology of 11/22kW AC Charger. The following link is a schematic diagram, which shows the Topology of 11/22kW AC Charger. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626144415956.png
1. What is the On-site Installation in the EC-7/11/22K-T EV charger? 2. What are Required tools in the EC-7/11/22K-T EV charger? 3. What is the On-site Installation in the EC-7/11/22K-UT EV charger? 4. What are Required tools in the EC-7/11/22K-UT EV charger? | This is a EC-7/11/22K EV charger. Below are Required tools in the On-site Installation. The following link is a corresponding description list of Required tools. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626144826664.png
1. What is the On-site Installation in the EC-7/11/22K-T EV charger? 2. What is Switch and cable recommendation in the EC-7/11/22K-T EV charger? 3. What is the On-site Installation in the EC-7/11/22K-UT EV charger? 4. What is Switch and cable recommendation in the EC-7/11/22K-UT EV charger? | This is a EC-7/11/22K EV charger. Below is Switch and cable recommendation in the On-site Installation. When installing 11/22kW charger, we recommend the use of 5*6 ㎜² copper cables, and 5*10 ㎜² should be used if it exceeds 80 meters, we recommend that the front stage of the 11kW Charger use an air switch that complies with IEC/EN68898-1, 4PC25specifications, and the front stage of 22kW AC Charger use an air switch that complies with IEC/EN 68898-1,4P C40 specifications. When installing a 7kW charger, we recommend the use of 3*6 ㎜² copper cables, and 3*10 ㎜² cable should be used if it exceeds 80 meters, We recommend that the front stage of the 7kW Charger use an air switch that complies with IEC/EN 68898-1,2P C25 specifications. At the same time, TYPE B socket AC Charger require users to prepare their own connectors. We commend the connectors used comply with IEC 62196-1 2022 and IEC 62196-2 2022. 7kW and 22kW AC Charger need to use connectors with an operating current of greater than or equal to 32A. 11kW AC Charger need to use connectors with an operating current of greater than or equal to 16A.
1. Give me the wiring diagram of EC-7/11/22K-T EV charger? 2. What is the Preparation before installation in the EC-7/11/22K-T EV charger? 3. Give me the wiring diagram of EC-7/11/22K-UT EV charger? 4. What is the Preparation before installation in the EC-7/11/22K-UT EV charger? 5. What are the steps of Wall-mounted installation in the EC-7/11/22K-T EV charger? 6. What are the steps of Pillar mounted installation in the EC-7/11/22K-T EV charger? 5. What are the steps of Wall-mounted installation in the EC-7/11/22K-UT EV charger? 6. What are the steps of Pillar mounted installation in the EC-7/11/22K-UT EV charger? | This is a EC-7/11/22K EV charger. Below are Installation steps in the On-site Installation. Please observe the following principles when installing: 1. Installation should only be performed by skilled technicians. 2. Please cut off the power before installation to ensure that the incoming line of the charger is not charged. 3. Do not install in rainy and wet weather. Here is Preparation before installation, remove the casing and reveal the wiring location: 1. Press the buckle to pop out the upper cover. 2. According to the arrow direction as shown(Wiring diagram) in the following link. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626150734677.png , break open the upper cover upwards. 3. Remove the screws, remove the middle cover, and let out the wiring base. In "Preparation before installation, remove the casing and reveal the wiring location", firstly, here is the Wall-mounted installation steps (Standard): a) Take out the positioning cardboard in the carton. b) Drill holes in the wall according to the hole positions on the cardboard, insert M4 expansion screws, and install the bracket (The recommended torque is 12kgf.cm). c) Secure the charger to the bracket and lock the anti-theft screws. d) Connect the power cables. e) Tighten the cable lock and check whether the phase sequence of the incoming cable is correct, whether the grounding is reliable, and whether there is a short circuit. f) Clean up cables, straps, screws and other sundries inside and around the charger, and it is forbidden to leave installation tools at the installation site or inside the charger. g) Lock the inner cover (fix 9 screws) and fasten the upper cover. h) We recommend that the height of connector from the ground is 1000mm-1500mm. The following link is a schematic diagram of Wall-mounting Installation. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626151855728.png The following link is a schematic diagram of explanation in Wall-mounted installation. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626152034587.png In "Preparation before installation, remove the casing and reveal the wiring location", secondly, here is Pillar mounted installation steps (Optional): a) Install the cement base. The following link is a schematic diagram of Installation. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626152644111.png b) The pillar is fixed to the base, and the "base cover" is installed downward from the top of the pillar until it is flush with the ground. c) Install the bracket and lock the screw M4*12 to the pillar(The recommended torque is 12kgf.cm). d) Align the hook on the back of the charger with the column bracket and install from top to bottom, then connect the power cable. e) After the installation is completed, tighten the cable lock and check whether the phase sequence of the incoming cable is correct, whether the grounding is reliable, and whether there is a short circuit. f) Clean up cables, straps, screws and other sundries inside and around the charger, and it is forbidden to leave installation tools at the installation site or inside the charger. g) Lock the inner cover and fasten the upper cover. h) After installation, the height of the connector from the ground is 1150mm. Tips: pillar is optional. The following link is a schematic diagram of overall Installation. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626152652159.png
1. What is the 11/22kW Charger power cable installation in the EC-7/11/22K-T EV charger? 1. What is the 11/22kW Charger power cable installation in the EC-7/11/22K-UT EV charger? | This is a EC-7/11/22K EV charger. Below are 11/22kW Charger power cable installation in the On-site Installation. Pass the three-phase cable through the inlet hole at the bottom of the charger, use an electric screwdriver to connect the three brown, black and gray cables to the U, V, and W terminals of the charger power board in turn, the blue neutral cable to the N terminal, and the yellow-green ground cable Connect to the PE terminal on the left, as shown in the following link, which shows the 11/22kW Wiring diagram. (The recommended torque is 12kgf.cm) https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626153150239.png
1. What is the 7kW Charger power cable installation in the EC-7/11/22K-T EV charger? 1. What is the 7kW Charger power cable installation in the EC-7/11/22K-UT EV charger? | This is a EC-7/11/22K EV charger. Below are 7kW Charger power cable installation in the On-site Installation. 1. Pass the cable through the cable entry hole at the bottom of the charger. Use an electric screwdriver to connect the brown cable to the U terminal of the power board of the charger. Connect the blue neutral cable is to the N terminal, connect the yellow-green ground cable to the PE terminal on the left, as shown in the following link, which shows the 7kW Wiring diagram. (The recommended torque is 12kgf.cm) https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626153516898.png 2. After the installation is completed, tighten the cable lock and check whether the phase sequence of the incoming cable is correct, whether the grounding is reliable, and whether there is a short circuit. 3. Clean up cables, straps, screws and other sundries inside and around the charger, and it is forbidden to leave installation tools at the installation site or inside the charger.
1. What is the DLB Meter and Transformer Installation in the EC-7/11/22K-T EV charger? 2. What is the three-phase meter wiring diagram of the optional energy meter and current transformer in the EC-7/11/22K-T EV charger? 3. What is the Single-phase meter wiring diagram of the optional energy meter and current transformer in the EC-7/11/22K-T EV charger? 4. What is the DLB Meter and Transformer Installation in the EC-7/11/22K-UT EV charger? 5. What is the three-phase meter wiring diagram of the optional energy meter and current transformer in the EC-7/11/22K-UT EV charger? 6. What is the Single-phase meter wiring diagram of the optional energy meter and current transformer in the EC-7/11/22K-UT EV charger? | This is a EC-7/11/22K EV charger. Below is DLB Meter and Transformer Installation. 1）Pre-installation preparation a. Ensure that materials and installation tools are complete, also current transformers, energy meters, cables, terminal blocks, screwdrivers, and insulated gloves. b. Verify that the selected energy meter and current transformer models meet the specification, ensuring that the voltage level, rated current, and other parameters comply with the usage conditions. 2）Select installation location a. The current transformer and energy meter should be installed near the current or voltage measurement point to ensure the accuracy of the measurement results. Additionally, select a location with good ventilation, dryness, and minimal exposure to mechanical impacts and electromagnetic interference. b. Current transformers generate heat during operation. Poor ventilation can cause the equipment to be overheated, affecting its lifespan. Humid environment can reduce insulation performance and potentially cause leakage accidents. c. Stay Away from Interference Sources. Avoid high-power motors, transformers, and other possible electromagnetic interference to ensure measurement accuracy. 3）Installation steps a. The following links are two schematic diagrams of this step. 1. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626154426920.png 2. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626154430451.png b. Complete the wiring of the meter and power cord as shown in the following link, which shows voltage and current wiring (three-phase and four-wire connections via transformer). https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626154645047.png The meter dimensions are shown in the following link, which shows Meter dimensions. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626154648391.png c. Connect the 485 port of the DLB meter to the J11-485 port of the EV Charger. (If the charger has been equipped with an internal MID meter and its 485 communication cable is connected to the corresponding J11 terminal, the DLB meter can be connected in parallel with the MID meter to the J11 terminal position.) The following link is a schematic diagram of Wiring. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626154912230.png d. Snap the meter into the rail. The rail-mounted meter is designed for sliding installation, ensuring the meter is securely fixed to the rail. The following link is a schematic diagram, which shows the three-phase meter wiring diagram of the optional energy meter and current transformer. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626155515421.png Notice: On the EV charger J11 terminal, the middle position is connected to 485A, and the far-left position is connected to 485B. The following link is a schematic diagram, which shows the Single-phase meter wiring diagram of the optional energy meter and current transformer. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626155523094.png 4）Precautions a. It should be installed and powered on by a professional. b. Throughout the installation process, be sure to comply with local electrical codes and standards. c. Use the correct wire size and select the appropriate wire cross-section according to the current size. d. Keep all joints clean, tight, and free from oxidation and corrosion. e. The current transformer and power system must be effectively grounded, and secondary sides of the current transformer must not be open, otherwise it will lead to high voltage and pose a safety hazard. f. Double-check that all wiring is correct and that there are no exposed wires or loose connection. g. Before reconnecting the power supply, check the safety of all the wiring. Then, gradually restore the power supply and use a test pen to check for exposed current. h. Make sure the energy meter is functioning properly, displays readings, and records the data.
1. What is the Power-on check in the EC-7/11/22K-T EV charger? 2. What is the Power-on check in the EC-7/11/22K-UT EV charger? | This is a EC-7/11/22K EV charger. Below is Power-on check. After the charger is installed, turn on the charger's power supply switch. After the charger is started and checked that there are no faults, charging can begin. You can choose to charge by swiping the card or using the APP to change the charging mode.
1. What is the Tap card to charge in the EC-7/11/22K-T EV charger? 2. When I want to use Tap card to Start charging EC-7/11/22K-T EV charger. What do I need to do? 3. When I want to use Tap card to Stop charging EC-7/11/22K-T EV charger. What do I need to do? 4. What is the Tap card to charge in the EC-7/11/22K-UT EV charger? 5. When I want to use Tap card to Start charging EC-7/11/22K-UT EV charger. What do I need to do? 6. When I want to use Tap card to Stop charging EC-7/11/22K-UT EV charger. What do I need to do? | This is a EC-7/11/22K EV charger. Below is Tap card to charge. Start charging: (1) Connect the charger to the car. (2) Use the provided RFID card to tap it in the RFID card reader area or use the app to start charging. Stop charging: Touch the RFID reader again with the RFID card or stop charging with the app.
1. What is the APP Operation in the EC-7/11/22K-T EV charger? 2. What is the APP Download in the EC-7/11/22K-T EV charger? 1. What is the APP Operation in the EC-7/11/22K-UT EV charger? 2. What is the APP Download in the EC-7/11/22K-UT EV charger? | This is a EC-7/11/22K EV charger. Below is APP Download in the APP Operation. You can scan the QR code or visit the website to download the EnValt App: https://www.envalt-tech.com. You can also download the EnValt App from the App store or Google play. The following link is a schematic diagram of APP downloading QR-code. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626160803205.png
1. What is the Device binding in the EC-7/11/22K-T EV charger? 2. With EC-7/11/22K-T EV charger, How do I register and login in my app? 1. What is the Device binding in the EC-7/11/22K-UT EV charger? 2. With EC-7/11/22K-UT EV charger, How do I register and login in my app? | This is a EC-7/11/22K EV charger. Below is Registering and login in the Device binding. • If you have already registered, you can log in directly. Then you can “Add devices”. If you don't have an account yet, tap “Sign up” to register as shown in the following link. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626161214994.png • In order to provide you with the basic function-ality of our products/services, you are required to authorize your consent to the "Privacy Policy" and "Terms & Conditions". We promise to keep users' information strictly confidential and will not disclose users' private information to outside parties unless authorized by the user or required by law. • Fill in the account information After filling in the information for registration, tap "Get Verification Code" as shown in the following link. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626161221785.png We will send the verification code to your email. Fill in the code, and click on "Confirm" to log in, as shown in the following link. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626161229656.png
1. What is the Device binding in the EC-7/11/22K-T EV charger? 2. With EC-7/11/22K-T EV charger, How do I add devices in my app? 3. What is the Device binding in the EC-7/11/22K-UT EV charger? 4. With EC-7/11/22K-UT EV charger, How do I add devices in my app? | This is a EC-7/11/22K EV charger. Below is Add devices in the Device binding. You can jump to the relevant section referring to what you want to do: • Now you have a station, but need to setting the network for devices or add new devices to your station? - Please tap the "Add Device" button, as shown in the following link. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626161945735.png Then you can directly see “Network configuration”. • Now you don't have a station yet? - Tap "Add station" on the page, as shown in the following link. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626161950854.png
1. With EC-7/11/22K-T EV charger, How do I Fill in the new station information in my app? 2. With EC-7/11/22K-T EV charger, How do I add devices in my app? 3. With EC-7/11/22K-UT EV charger, How do I Fill in the new station information in my app? 4. With EC-7/11/22K-UT EV charger, How do I add devices in my app? | This is a EC-7/11/22K EV charger. Below is Fill in the new station information in Add devices. You will need to fill in some information for the station, as shown in the following link. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250626162132555.png • Address (optional): Your detailed address, we will only use it for after-sales service. • Electricity price setting (optional): After filled, you will be able to view the income and expenditure of your devices.
1. With EC-7/11/22K-T EV charger, How do I configurate network in my app? 2. With EC-7/11/22K-T EV charger, How do I add devices in my app? 3. With EC-7/11/22K-UT EV charger, How do I configurate network in my app? 4. With EC-7/11/22K-UT EV charger, How do I add devices in my app? | This is a EC-7/11/22K EV charger. Below is Network configuration in Add devices. Select the home Wi-Fi network you want to connect to (not 5GWiFi) and enter your Wi-Fi password, as shown in the following link. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250627090717399.png
1. With EC-7/11/22K-T EV charger, How do I search bluetooth in my app? 2. With EC-7/11/22K-T EV charger, How do I add devices in my app? 3. With EC-7/11/22K-UT EV charger, How do I search bluetooth in my app? 4. With EC-7/11/22K-UT EV charger, How do I add devices in my app? | This is a EC-7/11/22K EV charger. Below is Bluetooth search in Add devices. Turn on your phone's Bluetooth, then select the devices you want to bind. Tap "Add" to add the devices to your station, as shown in the following link. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250627090725852.png The SN on this page is the same as the SN on the EV charger. ! Tips: Please be sure to turn on the Bluetooth of the mobile phone, otherwise the adding function will not be available.
1. With EC-7/11/22K-T EV charger, How do I complete binding in my app? 2. With EC-7/11/22K-T EV charger, How do I add devices in my app? 3. With EC-7/11/22K-UT EV charger, How do I complete binding in my app? 4. With EC-7/11/22K-UT EV charger, How do I add devices in my app? | This is a EC-7/11/22K EV charger. Below is Binding completed in Add devices. After the devices are connected to the network and bound successfully, you will see the page shown in the following link. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250627090734054.png Please tap "Enter ".
1. With EC-7/11/22K-T EV charger, Where can I View the EV Charger Data in my app? 2. With EC-7/11/22K-T EV charger, How do I add devices in my app? 3. With EC-7/11/22K-UT EV charger, Where can I View the EV Charger Data in my app? 4. With EC-7/11/22K-UT EV charger, How do I add devices in my app? | This is a EC-7/11/22K EV charger. Below is View the EV Charger Data in Add devices. You will see Device List, select the EV Charger you want to view, click to view data and settings. The EV Charger data page is shown in the following link https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250627091558437.png , you will be able to see the online status of the device, voltage, power and other data.
1. With EC-7/11/22K-T EV charger, Where can I find Remote Setting in my app? 2. With EC-7/11/22K-T EV charger, How do I add devices in my app? 3. With EC-7/11/22K-UT EV charger, Where can I find Remote Setting in my app? 4. With EC-7/11/22K-UT EV charger, How do I add devices in my app? 5. Where can I find "Start Charging" button to charge my EC-7/11/22K-T EV charger in my app? 6. Where can I find "Stop Charging" button to charge my EC-7/11/22K-T EV charger in my app? 7. Where can I find "Start Charging" button to charge my EC-7/11/22K-UT EV charger in my app? 8. Where can I find "Stop Charging" button to charge my EC-7/11/22K-UT EV charger in my app? 9. Where can I find Limit current of my EC-7/11/22K-T EV charger in my app? 10. Where can I find More Settings of my EC-7/11/22K-T EV charger in my app? 11. Where can I find Dynamic Load Balancing of my EC-7/11/22K-T EV charger in my app? 12. Where can I find OCPP of my EC-7/11/22K-T EV charger in my app? 13. Where can I find OTA of my EC-7/11/22K-T EV charger in my app? 14. Where can I find Limit current of my EC-7/11/22K-UT EV charger in my app? 15. Where can I find More Settings of my EC-7/11/22K-UT EV charger in my app? 16. Where can I find Dynamic Load Balancing of my EC-7/11/22K-UT EV charger in my app? 17. Where can I find OCPP of my EC-7/11/22K-UT EV charger in my app? 18. Where can I find OTA of my EC-7/11/22K-UT EV charger in my app? | This is a EC-7/11/22K EV charger. Below is Remote Setting in Add devices. • Work Mode As shown in the following link https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250627091605237.png , you can choose the “work mode” as “Plug & Charge, Swipe Charge or Based on time”. If you choose “Based on time”, you can book a time period for charging. By selecting "Once", charging will only take place during the set period today; by selecting "Daily", charging will take place every day during the scheduled period. • Start charging You can also start the EV Charger directly by clicking the "Start Charging" button, as shown in the following link. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250627091605237.png • Stop charging You can click the "Stop Charging" button in the following link. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250627091659089.png Note: Please make sure that the EV Charger and the car are properly connected and the device is networked for this function to work properly！ • Limit current You can set the maximum charging current of the EV Charger through the "Max charging current". (Minimum charging current of the EV Charger is 6A). • More Settings You can do more remotely by clicking on "Settings". • Dynamic Load Balancing If you want the EV Charger to be dynamically load-balanced, you need to switch on the "Dynamic load balancing" switch and then set the " Grid Power Limit ". "Grid Power Limit" is the maximum power that the grid can provide, including the EV Charger and other loads. Once set, the charging power of the EV Charger will be automatically adjusted according to the power of other loads to ensure that the total power using the grid does not exceed the set value. (Before using this function, make sure that the meter CT is properly connected. • OCPP Setting the OCPP address to enable remote control of the EV Charger. • OTA Upgrade the device version to use the latest features of the EV Charger.
1. With EC-7/11/22K-T EV charger, Where can I find Local Setting in my app? 2. With EC-7/11/22K-T EV charger, How do I add devices in my app? 3. With EC-7/11/22K-UT EV charger, Where can I find Local Setting in my app? 4. With EC-7/11/22K-UT EV charger, How do I add devices in my app? | This is a EC-7/11/22K EV charger. Below is Local Setting in Add devices. You can also click Tab "Local", select the EV Charger you want to operate in "EV Charger", and control the EV Charger locally via Bluetooth.（Make sure that Bluetooth is switched on before using this function）You can also view your device data by logging into https://ienos.envalt-tech.com, the website login password is the same as the APP account password.
1. With EC-7/11/22K-T EV charger, Where can I find contact information？ 2. With EC-7/11/22K-T EV charger, Where can I find Account and service information？ 3. With EC-7/11/22K-UT EV charger, Where can I find contact information？ 4. With EC-7/11/22K-UT EV charger, Where can I find Account and service information？ | This is a EC-7/11/22K EV charger. Below is Account and service information. Tap "PERSONAL" to view account information and app settings. •Have any device malfunction or have technical problems? Tap "After Sales", and you will see business related information. •Have any questions or suggestions about the APP? You can leave us a message in the "Suggestions feedback" or contact us at service@envalt-tech.com. We will deal with it for you as soon as we know. •How do I view the device manual in the app? Click "Data Center" on the "SERVICE" page to view the corresponding device information.
1. What is HMI Introduction in the EC-7/11/22K-T EV charger? 2. Details about Introduction to interface in the EC-7/11/22K-T EV charger? 3. What is HMI Introduction in the EC-7/11/22K-UT EV charger? 4. Details about Introduction to interface in the EC-7/11/22K-UT EV charger? | This is a EC-7/11/22K EV charger. Below is HMI Introduction. If you have the optional LCD, you can see more charging information on the screen of the EV Charger. The following link is a schematic diagram of Introduction to interface. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250627093616570.png
1. why does the indicator light of EC-7/11/22K-T EV charger flash green? 2. When my EC-7/11/22K-T EV charger is stand-by? 3. why does the indicator light of EC-7/11/22K-UT EV charger flash green? 4. When my EC-7/11/22K-UT EV charger is stand-by? | This is a EC-7/11/22K EV charger. Below is the status of the indicator light. The indicator light flashes green when in standby.
1. why does the indicator light of EC-7/11/22K-T EV charger be steady green? 2. When my EC-7/11/22K-T EV charger is ready? 3. why does the indicator light of EC-7/11/22K-UT EV charger be steady green? 4. When my EC-7/11/22K-UT EV charger is ready? | This is a EC-7/11/22K EV charger. Below is the status of the indicator light. The indicator light is steady green when ready.
1. why does the indicator light of EC-7/11/22K-T EV charger be blue running light? 2. When my EC-7/11/22K-T EV charger is charging? 3. why does the indicator light of EC-7/11/22K-UT EV charger be blue running light? 4. When my EC-7/11/22K-UT EV charger is charging? | This is a EC-7/11/22K EV charger. Below is the status of the indicator light. The indicator light is a blue running light when charging
1. why does the indicator light of EC-7/11/22K-T EV charger be solid blue? 2. When will my EC-7/11/22K-T EV charger complete charging? 3. why does the indicator light of EC-7/11/22K-UT EV charger be solid blue? 4. When will my EC-7/11/22K-UT EV charger complete charging? | This is a EC-7/11/22K EV charger. Below is the status of the indicator light. When charging is completed, the indicator light is solid blue.
1. why does the indicator light of EC-7/11/22K-T EV charger flash blue? 2. When my EC-7/11/22K-T EV charger has been reserved? 3. why does the indicator light of EC-7/11/22K-UT EV charger flash blue? 4. When my EC-7/11/22K-UT EV charger has been reserved? | This is a EC-7/11/22K EV charger. Below is the status of the indicator light. The indicator light flashes blue when it has been reserved.
1. why does the indicator light of EC-7/11/22K-T EV charger flash yellow slowly? 2. When the platform is connected and the authorization fails with EC-7/11/22K-T EV charger, why will happend? 3. why does the indicator light of EC-7/11/22K-UT EV charger flash yellow slowly? 4. When the platform is connected and the authorization fails with EC-7/11/22K-UT EV charger, why will happend? | This is a EC-7/11/22K EV charger. Below is the status of the indicator light. When the platform is connected and the authorization fails, the indicator light flashes yellow slowly.
1. why does the indicator light of EC-7/11/22K-T EV charger flash yellow quickly? 2. When the platform is not connected and the authorization fails with EC-7/11/22K-T EV charger, why will happend? 3. why does the indicator light of EC-7/11/22K-UT EV charger flash yellow quickly? 4. When the platform is not connected and the authorization fails with EC-7/11/22K-UT EV charger, why will happend? | This is a EC-7/11/22K EV charger. Below is the status of the indicator light. When the platform is not connected and the authorization fails, the indicator light flashes yellow quickly.
1. why does the indicator light of EC-7/11/22K-T EV charger be solid yellow? 2. When my EC-7/11/22K-T EV charger be unavailable/upgrade, why will happend? 3. why does the indicator light of EC-7/11/22K-UT EV charger be solid yellow? 4. When my EC-7/11/22K-UT EV charger be unavailable/upgrade, why will happend? | This is a EC-7/11/22K EV charger. Below is the status of the indicator light. The unavailable/upgrade indicator light is solid yellow.
1. why does the indicator light of EC-7/11/22K-T EV charger be green running? 2. When my EC-7/11/22K-T EV charger be disconnected from the operation and maintenance platform, why will happend? 3. why does the indicator light of EC-7/11/22K-UT EV charger be green running? 4. When my EC-7/11/22K-UT EV charger be disconnected from the operation and maintenance platform, why will happend? | This is a EC-7/11/22K EV charger. Below is the status of the indicator light. The indicator light is a green running light when disconnected from the operation and maintenance platform (when the charging mode is set to offline, the indicator light has no light effect change when disconnected from the operation and maintenance platform, that is, it will not turn into a green running light) .
1. why does the indicator light of EC-7/11/22K-T EV charger be always red? 2. When my EC-7/11/22K-T EV charger exists a fault, why will happend? 3. why does the indicator light of EC-7/11/22K-UT EV charger be always red? 4. When my EC-7/11/22K-UT EV charger exists a fault, why will happend? | This is a EC-7/11/22K EV charger. Below is the status of the indicator light. The indicator light is always red when there is a fault.
1. Introduction to the status of the indicator light in the EC-7/11/22K-T EV charger. 2. Introduction to the status of the indicator light in the EC-7/11/22K-UT EV charger. | This is a EC-7/11/22K EV charger. Below is the status of the indicator light: (1) The indicator light flashes green when in standby. (2) The indicator light is steady green when ready. (3) The indicator light is a blue running light when charging. (4) When charging is completed, the indicator light is solid blue. (5) The indicator light flashes blue when it has been reserved. (6) When the platform is connected and the authorization fails, the indicator light flashes yellow slowly. (7) When the platform is not connected and the authorization fails, the indicator light flashes yellow quickly. (8) The unavailable/upgrade indicator light is solid yellow. (9) The indicator light is a green running light when disconnected from the operation and maintenance platform (when the charging mode is set to offline, the indicator light has no light effect change when disconnected from the operation and maintenance platform, that is, it will not turn into a green running light) . (10) The indicator light is always red when there is a fault.
1. Introduction to LCD Screen interface in the EC-7/11/22K-T EV charger. 2. Show me the Startup interface of my EC-7/11/22K-T EV charger. 3. Show me the Standby interface of my EC-7/11/22K-T EV charger. 4. Show me the Preparing interface of my EC-7/11/22K-T EV charger. 5. Show me the Charging interface of my EC-7/11/22K-T EV charger. 6. Show me the Finish interface of my EC-7/11/22K-T EV charger. 7. Show me the Reserved interface of my EC-7/11/22K-T EV charger. 8. Show me the Fault interface of my EC-7/11/22K-T EV charger. 9. Show me the Unavailable interface of my EC-7/11/22K-T EV charger. 10. Show me the Bind card through EV Charger of my EC-7/11/22K-T EV charger. 11. Show me the Firmware update of my EC-7/11/22K-T EV charger. 12. Show me the Restore factory settings of my EC-7/11/22K-T EV charger. 13. Introduction to LCD Screen interface in the EC-7/11/22K-UT EV charger. 14. Show me the Startup interface of my EC-7/11/22K-UT EV charger. 15. Show me the Standby interface of my EC-7/11/22K-UT EV charger. 16. Show me the Preparing interface of my EC-7/11/22K-UT EV charger. 17. Show me the Charging interface of my EC-7/11/22K-UT EV charger. 18. Show me the Finish interface of my EC-7/11/22K-UT EV charger. 19. Show me the Reserved interface of my EC-7/11/22K-UT EV charger. 20. Show me the Fault interface of my EC-7/11/22K-UT EV charger. 21. Show me the Unavailable interface of my EC-7/11/22K-UT EV charger. 22. Show me the Bind card through EV Charger of my EC-7/11/22K-UT EV charger. 23. Show me the Firmware update of my EC-7/11/22K-UT EV charger. 24. Show me the Restore factory settings of my EC-7/11/22K-UT EV charger. | This is a EC-7/11/22K EV charger. Below is LCD Screen interface introduction (Optional). (1) Once the charger is started and switched on, the start-up screen will appear. The following link is a schematic diagram of Startup interface. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250627100223542.png (2) The following link is a schematic diagram of Standby interface. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250627100227083.png (3) The following link is a schematic diagram of Preparing interface. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250627100252489.png (4) The following link is a schematic diagram of Charging interface. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250627100255220.png (5) The following link is a schematic diagram of Finish interface. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250627100342637.png (6) The following link is a schematic diagram of Reserved interface. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250627100345434.png (7) The following link is a schematic diagram of Fault interface. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250627100436405.png (8) The following link is a schematic diagram of Unavailable interface. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250627100438614.png (9) The following link is a schematic diagram of Bind card through EV Charger. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250627100524104.png (10) The following link is a schematic diagram of Restore factory settings. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250627100526455.png (11) The following link is a schematic diagram of Firmware update. https://oss-cdn.hanchuess.com//Knowledge_data_base/user_manual/HC-EV-AC-071122K/20250627100531910.png