## Sheet1
What should I do if my EnValt 25K/30K/36K/40K/50K/80K inverter shows "Mains Lost" error? | This error indicates that your inverter has lost connection to the electrical grid. What this means for you: Your inverter cannot detect grid power (outage or loose connection). What needs to happen: 1.Check main supply. 2.Check AC breaker and connections. 3.Contact installer if grid is online but error persists. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Three%20Phase%20Hybrid%20-%2025-50K%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=1)
What should I do if my EnValt 25K/30K/36K/40K/50K/80K inverter shows "Grid Voltage Fault" error? | The grid voltage is outside the safe operating range. Action: Installer needs to check safety code settings, AC wiring, and potentially adjust voltage protection limits. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Three%20Phase%20Hybrid%20-%2025-50K%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=1)
What should I do if my EnValt 25K/30K/36K/40K/50K/80K inverter shows "Grid Frequency Fault" error? | The grid frequency is outside safe limits. Action: Installer needs to check AC cables or change protection settings if allowed by utility. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Three%20Phase%20Hybrid%20-%2025-50K%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=2)
What should I do if my EnValt 25K/30K/36K/40K/50K/80K inverter shows "DCI Fault" error? | DC injection current exceeds safe range. Action: Restart the inverter. If persists, contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Three%20Phase%20Hybrid%20-%2025-50K%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=2)
What should I do if my EnValt 25K/30K/36K/40K/50K/80K inverter shows "ISO Over Limitation" error? | DC side insulation impedance is too low (potential water damage). Action: Check PV panels/cables for water damage. Use a megger to measure ground resistance (>500 kΩ). [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Three%20Phase%20Hybrid%20-%2025-50K%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=3)
What should I do if my EnValt 25K/30K/36K/40K/50K/80K inverter shows "PV Over Voltage" error? | Solar panel input voltage is too high. Action: Reduce number of PV panels so open-circuit voltage is within limits. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Three%20Phase%20Hybrid%20-%2025-50K%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=4)
What should I do if my EnValt 25K/30K/36K/40K/50K/80K inverter shows "Inverter Over Temperature" error? | Inverter is too hot. Action: Check ventilation. Turn off to cool down. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Three%20Phase%20Hybrid%20-%2025-50K%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=5)
What should I do if my EnValt 25K/30K/36K/40K/50K/80K inverter shows "N-PE Check Fault" error? | Ground cable is loose or poor connection. Action: Check ground cable wiring.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Three%20Phase%20Hybrid%20-%2025-50K%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=5)
What should I do if my EnValt 25K/30K/36K/40K/50K/80K inverter shows "SPI Fault" error? | Internal communication failed (magnetic interference?). Action: Restart inverter. Contact installer if persists. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Three%20Phase%20Hybrid%20-%2025-50K%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=5)
What should I do if my EnValt 25K/30K/36K/40K/50K/80K inverter shows "E2 Fault" error? | Internal storage memory corrupted. Action: Restart inverter. Contact installer if persists. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Three%20Phase%20Hybrid%20-%2025-50K%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=6)
What should I do if my EnValt 25K/30K/36K/40K/50K/80K inverter shows "GFCI Device Fault" error? | The GFCI safety device is malfunctioning. Action: Restart inverter. Contact installer if persists. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Three%20Phase%20Hybrid%20-%2025-50K%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=6)
What should I do if my EnValt 25K/30K/36K/40K/50K/80K inverter shows "AC Transducer Fault" error? | The AC voltage sensor has malfunctioned. Action: Restart inverter. Contact installer if persists. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Three%20Phase%20Hybrid%20-%2025-50K%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=7)
What should I do if my EnValt 25K/30K/36K/40K/50K/80K inverter shows "Relay Check Fail" error? | Internal relay self-check failed (or N/PE connection poor). Action: Measure voltage between N&PE (should be <10V). Restart inverter. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Three%20Phase%20Hybrid%20-%2025-50K%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=7)
What should I do if my EnValt 25K/30K/36K/40K/50K/80K inverter shows "Internal Fan Fault" error? | Internal cooling fan failed. Action: Restart inverter. Contact installer for replacement. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Three%20Phase%20Hybrid%20-%2025-50K%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=8)
What should I do if my EnValt 25K/30K/36K/40K/50K/80K inverter shows "External Fan Fault" error? | External cooling fan failed. Action: Check if fan is blocked by debris and clean it. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Three%20Phase%20Hybrid%20-%2025-50K%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=8)
What should I do if my EnValt 25K/30K/36K/40K/50K/80K inverter shows "Bat OV" error? | Battery overvoltage protection triggered. Action: Check battery status and alarms. Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Three%20Phase%20Hybrid%20-%2025-50K%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=8)
What should I do if my EnValt 25K/30K/36K/40K/50K/80K inverter shows "Backup OV" error? | Abnormal voltage on backup (EPS) side. Action: Turn off inverter, remove backup connector, measure voltage on connector. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Three%20Phase%20Hybrid%20-%2025-50K%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=9)
What should I do if my EnValt 25K/30K/36K/40K/50K/80K inverter shows "Bus Volt Low" error? | Internal bus voltage too low. Action: Check battery and PV input voltages. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Three%20Phase%20Hybrid%20-%2025-50K%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=9)
What should I do if my EnValt 25K/30K/36K/40K/50K/80K inverter shows "Bus Voltage Fault" error? | Internal bus voltage is too high. Action: Restart inverter. Check input voltage. Contact installer if persists. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Three%20Phase%20Hybrid%20-%2025-50K%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=4)
What should I do if my EnValt 25K/30K/36K/40K/50K/80K inverter shows "Hard Fault" error? | Serious internal hardware problem. Action: Restart inverter. Contact installer immediately if persists. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Three%20Phase%20Hybrid%20-%2025-50K%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=10)
What should I do if my EnValt 25K/30K/36K/40K/50K/80K inverter shows "GFCI Fault" error? | Ground leakage current exceeds limit. Action: Restart inverter. Check PV system for water damage. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Three%20Phase%20Hybrid%20-%2025-50K%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=3)
What should I do if my EnValt 25K/30K/36K/40K/50K/80K inverter shows "Backup OP" error? | Output power on backup side exceeded limit. Action: Check if load on backup side is too high. Reduce load. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Three%20Phase%20Hybrid%20-%2025-50K%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=10)
What should I do if my EnValt 25K/30K/36K/40K/50K/80K inverter shows "Inverter OV" error? | Load power exceeds limit in off-grid mode. Action: Check for impact loads or short circuits on backup side. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Three%20Phase%20Hybrid%20-%2025-50K%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=10)
What should I do if my EnValt 25K/30K/36K/40K/50K/80K inverter shows "Inverter OF" error? | Similar to OV - Load power exceeds limit. Action: Check for impact loads or short circuits on backup side. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Three%20Phase%20Hybrid%20-%2025-50K%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=11)
What should I do if my EnValt 25K/30K/36K/40K/50K/80K inverter shows "Inverter OC" error? | Similar to OV/OF - Load power exceeds limit. Action: Check for impact loads or short circuits on backup side. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Three%20Phase%20Hybrid%20-%2025-50K%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=11)
What should I do if my EnValt 25K/30K/36K/40K/50K/80K inverter shows "SCI Fault" error? | Internal communication disrupted. Action: Restart inverter. Contact installer if persists. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Three%20Phase%20Hybrid%20-%2025-50K%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=12)
What maintenance does my battery need? | Battery maintenance should be performed by professionals. Safety: Do not dispose in fire, do not dismantle, use insulated tools. Action: Contact your battery supplier or installer for detailed guidance. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Three%20Phase%20Hybrid%20-%2025-50K%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=16)
What does the charge indicator light mean? | White Light (ON): Battery is charging (>0.5A). Light OFF: Not charging. Action: No action needed. Shows charging status. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=1)
What does the discharge indicator light mean? | White Light (ON): Battery is discharging (>0.5A). Light OFF: Not discharging. Action: No action needed. Shows discharging status. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=1)
What does the SOC display mean? | Shows percentage (0-100%). "---" means initializing. Action: No action needed. Check remaining energy. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=2)
What does the WIFI indicator light mean? | Orange: Connecting. White: Connected. OFF: No connection. Action: If OFF, check router and range. Restart battery if needed. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=2)
What does the warning indicator light mean? | Red Light (ON): Serious BMS fault. White Blank: Updating software. Action: If Red, contact installer immediately. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=3)
What should I do if my EnValt 3.68kWh battery the indicator light does not come on? | Battery not responding to power button. Action: Hold power switch for 2s. If no response, contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=4)
What should I do if my EnValt 3.68kWh battery there is no DC output? | Battery connected but not providing power. Action: Installer must check circuit breaker. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=4)
What should I do if my EnValt 3.68kWh battery there are external communication errors? | Battery cannot talk to inverter. Action: Installer must check comms cable to inverter. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=4)
What should I do if my EnValt 3.68kWh battery there are internal communication errors? | Battery modules cannot talk to each other. Action: Installer must check DIP switches and internal cables. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=5)
What should I do if my EnValt 3.68kWh battery I see an over voltage alarm? | Voltage too high. Protective alarm. Action: Wait for voltage to return to normal.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=6)
What should I do if my EnValt 3.68kWh battery I see a lower voltage alarm? | Voltage too low. Low charge or issue. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=6)
What should I do if my EnValt 3.68kWh battery I see a charge over current protection (OCP) alarm? | Charging current too high. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=6)
What should I do if my EnValt 3.68kWh battery I see a high temperature protection alarm? | Battery too hot. Action: Wait for battery to cool down. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=7)
What should I do if my EnValt 3.68kWh battery I see a discharge over current protection (OCP) alarm? | Discharging current too high. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=7)
What should I do if my EnValt 3.68kWh battery I see a low temperature protection alarm? | Battery too cold. Action: Wait for battery to warm up. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=8)
What should I do if my EnValt 3.68kWh battery I see a cell imbalance alarm? | Cells not balanced. Reduces performance. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=8)
What should I do if my EnValt 3.68kWh battery I see a temperature difference alarm? | Cells at different temperatures. Internal imbalance. Action: Stop using battery. Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=10)
What is Error Code E.00? | Single cell overvoltage protection. One cell is >3.7V. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=11)
What is Error Code E.01? | Total voltage overvoltage protection. Entire battery voltage too high. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=11)
What is Error Code E.02? | Total voltage undervoltage protection. Battery voltage dangerously low. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=11)
What is Error Code E.03? | Consecutive overvoltage protection (10 times). Lockout. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=11)
What is Error Code E.04? | Total voltage low voltage alarm. Battery is low. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=12)
What is Error Code E.05? | Single cell low voltage alarm. One cell is low. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=12)
What is Error Code E.06? | Single cell high voltage alarm. One cell is high. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=12)
What is Error Code E.07? | Single cell undervoltage protection. One cell dangerously low. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=13)
What is Error Code E.08? | Voltage difference alarm. Cells unbalanced. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=13)
What is Error Code E.09? | Consecutive undervoltage protection (10 times). Lockout. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=13)
What is Error Code E.12? | Short circuit protection. Dangerous electrical path detected. Action: Contact installer immediately.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=13)
What is Error Code E.13? | Overcharge overcurrent protection. Charging current too high. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=14)
What is Error Code E.14? | Discharge overcurrent protection (Type 1). Discharge too fast. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=14)
What is Error Code E.15? | Charging current alarm. Current above limits but operating. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=14)
What is Error Code E.16? | Discharge overcurrent protection (Type 2). Serious overcurrent. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=15)
What is Error Code E.17? | Discharging current alarm. Current high but operating. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=15)
What is Error Code E.18? | Continuous overcurrent protection (10 times). Lockout. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=15)
What is Error Code E.19? | Reverse polarity protection. Cables connected backwards. Action: Contact installer immediately. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=16)
What is Error Code E.20? | Charge high temperature protection (cell). Too hot to charge. Action: Stop charging. Allow to cool. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=16)
What is Error Code E.21? | Charge low temperature protection (cell). Too cold to charge. Action: Stop charging. Allow to warm. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=17)
What is Error Code E.22? | Discharge high temperature protection (cell). Too hot to discharge. Action: Stop using. Allow to cool.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=17)
What is Error Code E.23? | Discharge low temperature protection (cell). Too cold to discharge. Action: Stop using. Allow to warm. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=18)
What is Error Code E.24? | Ambient high temperature protection. Room too hot. Action: Improve ventilation. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=18)
What is Error Code E.25? | Ambient low temperature protection. Room too cold. Action: Improve heating/insulation. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=19)
What is Error Code E.26? | Power high temperature protection. Internal MOS too hot. Action: Stop using. Allow to cool. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=19)
What is Error Code E.27? | Power low temperature protection. Internal MOS too cold. Action: Allow to warm. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=20)
What is Error Code E.28? | Charging high temperature alarm. Getting warm. Action: Stop charging. Allow to cool. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=20)
What is Error Code E.29? | Charging low temperature alarm. Getting cold. Action: Stop charging. Allow to warm. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=21)
What is Error Code E.2A? | Discharging high temperature alarm. Getting warm. Action: Stop using. Allow to cool. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=21)
What is Error Code E.2B? | Discharging low temperature alarm. Getting cold. Action: Stop using. Allow to warm. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=21)
What is Error Code E.2C? | Environment high temperature alarm. Room hot. Action: Improve ventilation. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=22)
What is Error Code E.2D? | Environment low temperature alarm. Room cold. Action: Improve insulation. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=22)
What is Error Code E.2E? | Power high temperature alarm. MOS getting warm. Action: Stop using. Allow to cool. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=23)
What is Error Code E.2F? | Power low temperature alarm. MOS getting cold. Action: Allow to warm. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=23)
What is Error Code E.37? | Low SOC alarm. Battery almost empty. Action: Charge battery. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=24)
What is Error Code E.38? | MOS high temperature protection. Component overheating. Action: Stop using. Contact installer if persists. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=24)
What is Error Code E.39? | Heating film failure. Heater not working. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=25)
What is Error Code E.3C? | Cell failure. Internal battery fault. Action: Contact installer immediately. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=25)
What is Error Code E.3E? | Charging MOS failure. Cannot charge. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=26)
What is Error Code E.3F? | Discharging MOS failure. Cannot discharge. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%203.68kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=26)
What should I do if my EnValt 9.4kWh battery the indicator light does not come on? | Battery not responding to power button. Power issue. Action: Hold power switch for 2s. If no response, contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=1)
What should I do if my EnValt 9.4kWh battery there is no DC output? | Battery connected but not providing power. Action: Installer must check circuit breaker. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=1)
What should I do if my EnValt 9.4kWh battery there are external communication errors? | Communication with inverter failed. Action: Installer must check comms cable to inverter. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=2)
What should I do if my EnValt 9.4kWh battery there are internal communication errors? | Communication between battery modules failed. Action: Installer must check DIP switches and internal cables. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=2)
What should I do if my EnValt 9.4kWh battery I see an over voltage alarm? | Voltage too high. Protective alarm. Action: Wait for voltage to return to normal. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=3)
What should I do if my EnValt 9.4kWh battery I see a lower voltage alarm? | Voltage too low. Low charge or battery issue. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=3)
What should I do if my EnValt 9.4kWh battery I see a charge over current protection (OCP) alarm? | Charging current too high. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=3)
What should I do if my EnValt 9.4kWh battery I see a discharge over current protection (OCP) alarm? | Discharging current too high. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=4)
What should I do if my EnValt 9.4kWh battery I see a high temperature protection alarm? | Battery too hot. Action: Wait for battery to cool down. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=4)
What should I do if my EnValt 9.4kWh battery I see a low temperature protection alarm? | Battery too cold. Action: Wait for battery to warm up.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=5)
What should I do if my EnValt 9.4kWh battery I see a cell imbalance alarm? | Cells not balanced. Reduces performance. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=5)
What should I do if my EnValt 9.4kWh battery I see a MOS protection alarm? | Hardware protection triggered. Battery stopped. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=5)
What should I do if my EnValt 9.4kWh battery I see a voltage sensor fault alarm? | Voltage sensor failed. Unsafe operation. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=6)
What should I do if my EnValt 9.4kWh battery I see an insulation fault alarm? | Insulation problem detected. Safety hazard. Action: Stop using immediately. Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=6)
What should I do if my EnValt 9.4kWh battery I see a temperature sensor fault alarm? | Temp sensor failed. Cannot monitor heat. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=7)
What should I do if my EnValt 9.4kWh battery I see a temperature difference alarm? | Cells at different temperatures. Imbalance. Action: Stop using battery. Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=7)
What do codes 01-19 mean? | Battery unit address ID. Identifies modules. Action: No action needed. Normal identification. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=8)
What does code 20 mean? | No Alarm. Normal operation. Action: No action needed. System is healthy. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=8)
What does code 21 mean? | Individual Cell Undervoltage Alarm. One cell low. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=8)
What does code 22 mean? | Individual Cell Overvoltage Alarm. One cell high. Action: Contact installer.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=9)
What does code 23 mean? | Overall Undervoltage Alarm. Battery pack too low. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=9)
What does code 24 mean? | Overall Overvoltage Alarm. Battery pack too high. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=10)
What does code 25 mean? | Excessive Pressure Difference. Internal imbalance. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=10)
What does code 26 mean? | Excessive Temperature Difference. Cell imbalance. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=10)
What does code 27 mean? | Charging Overcurrent Alarm. Charging too fast. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=11)
What does code 28 mean? | Discharge Overcurrent Alarm. Discharging too fast. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=11)
What does code 29 mean? | Charging High Temperature Alarm. Too hot to charge. Action: Stop charging. Allow to cool. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=11)
What does code 30 mean? | Charging Low Temperature Alarm. Too cold to charge. Action: Stop charging. Allow to warm. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=12)
What does code 31 mean? | Discharge High Temperature Alarm. Too hot to use. Action: Stop using. Allow to cool. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=12)
What does code 32 mean? | Low Temperature Discharge Alarm. Too cold to use. Action: Stop using. Allow to warm.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=13)
What does code 33 mean? | Environmental High Temperature Alarm. Room too hot. Action: Improve ventilation. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=13)
What does code 34 mean? | Environmental Low Temperature Alarm. Room too cold. Action: Improve heating/insulation. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=14)
What does code 35 mean? | MOS High Temperature Alarm. Component overheating. Action: Stop using. Allow to cool. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=14)
What does code 40 mean? | Individual Cell Undervoltage Protection. One cell too low. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=15)
What does code 41 mean? | Individual Cell Overvoltage Protection. One cell too high. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=15)
What does code 42 mean? | Overall Undervoltage Protection. Battery pack too low. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=16)
What does code 43 mean? | Overall Overvoltage Protection. Battery pack too high. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=16)
What does code 44 mean? | Excessive Voltage Difference Protection. Cells unbalanced. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=16)
What does code 45 mean? | Excessive Temperature Difference Protection. Imbalance. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=17)
What does code 46 mean? | Charging Over-Current Protection. Charging too fast. Action: Contact installer.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=17)
What does code 47 mean? | Discharge Overcurrent Protection. Discharging too fast. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=18)
What does code 48 mean? | Charging High Temperature Protection. Too hot to charge. Action: Stop charging. Allow to cool. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=18)
What does code 49 mean? | Charging Low Temperature Protection. Too cold to charge. Action: Stop charging. Allow to warm. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=19)
What does code 50 mean? | Discharge High Temperature Protection. Too hot to use. Action: Stop using. Allow to cool. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=19)
What does code 60 mean? | Cell Failure. Permanent cell damage. Action: Contact installer for replacement. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=20)
What does code 61 mean? | Heating Fault. Heater system failed. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=20)
What does code 62 mean? | Sampling Failure. Measuring system failed. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=21)
What does code 63 mean? | NTC Failure. Temperature sensor failed. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=21)
What does code 64 mean? | Charging MOS Fault. Charge switch failed. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=21)
What does code 65 mean? | Discharge MOS Failure. Discharge switch failed. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=22)
What does code 66 mean? | Fuse Fault. Internal safety fuse blown. Action: Contact installer for service. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=22)
What does code 67 mean? | Communication Failure. Cannot talk to inverter. Action: Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=23)
What information does the home screen display on my 2.7kWh battery? | The home screen shows real-time status including: • SOC (State of Charge) • Voltage & Power • System Status (Standby, Charging, etc.) • Cloud connection status Action: No action needed. Check regularly to monitor health. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%202.7kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=1)
What do the different status indicators mean on my 2.7kWh battery display? | Abnormal Status: • Normal: Operating correctly • Alarm: Non-critical issue • Fault: Critical problem (shutdown) System Status: Standby, Power On, Charging, Discharging, Idle, Power Off. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%202.7kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=2)
How do I view detailed real-time data on my 2.7kWh battery? | Tap the right arrow on the home screen to cycle through: 1. Voltage Operation Status 2. Power Operation Status 3. Temperature Operation Status 4. SOC Operation Status 5. Relay Status [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%202.7kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=3)
How do I access the menu and settings on my 2.7kWh battery display? | Tap the left arrow on the home screen to enter the menu. Options include: Information, Setting, WIFI, and OTA. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%202.7kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=3)
What information can I view about my 2.7kWh battery in the Information section? | Detailed technical info: • Battery System Name • Number of Stacked Modules • Serial Number (SN) • Firmware Version • Voltage & Capacity Action: Use this for warranty or service reference [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%202.7kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=4)
What settings can I adjust on my 2.7kWh battery? | Battery Settings: Protocol (must match inverter), Force Charge, Current Limits. Display Settings: Theme, Language, Time, Backlight. Action: Contact installer before changing Protocol or Current Limits. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%202.7kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=4)
How do I connect my 2.7kWh battery to WiFi? | 1. Go to WIFI menu. 2. Select your network from the dropdown. 3. Enter password and click Confirm. Action: Connect to WiFi to enable remote monitoring via the app. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%202.7kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=5)
What is OTA and how do I use it on my 2.7kWh battery? | OTA (Over The Air) updates software remotely. Action: Ensure WiFi is connected. Select components (BCU, WIFI, LCD) to update when notified. Do not turn off during update. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%202.7kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=5)
What information is displayed on my 2.7kWh battery when it's charging? | Charging View: • Voltage (150-160V) • Power (Positive value) • SOC (Increasing) • Status: "Charging" Action: Monitor power value. If zero or temp >40°C, charging may stop/slow. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%202.7kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=6)
What information is displayed on my 2.7kWh battery when it's discharging? | Discharging View: • Voltage • Power (Negative value) • SOC (Decreasing) • Status: "Discharging" Action: Monitor power usage. Turn off appliances to reduce discharge rate. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%202.7kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=6)
What does it mean if my 2.7kWh battery shows an alarm on the display? | Alarm: Non-critical issue (Over/Under Voltage, Temp, Current). Action: Note time/status. If persists >30 mins, contact installer. Many temp alarms clear automatically. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%202.7kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=7)
What does it mean if my 2.7kWh battery shows a fault on the display? | Fault: Critical issue (Hardware, Cell Failure, Comm Fault). Action: Stop using immediately. Turn off breaker. Contact installer with fault code. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%202.7kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=8)
What should I do if my 2.7kWh battery display is not showing any information? | Display lost power or software issue. Action: Check breaker ON. Hold power button 5s. If blank, contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%202.7kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=9)
What are maintenance alarms on my 2.7kWh battery? | Routine care needed (Service Due, Inspection, FW Update). Action: Schedule maintenance with installer. Battery still operates. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%202.7kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=9)
What should I do if my 2.7kWh battery won't connect to WiFi? | Cannot communicate with app. Action: Check router/range. Verify password. Restart display via menu. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%202.7kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=10)
What should I do if my 2.7kWh battery is not charging? | Battery not storing energy. Action: Check breaker ON. Check power source. Verify comms cable to inverter. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%202.7kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=10)
What should I do if my 2.7kWh battery is not discharging? | Home cannot use stored energy. Action: Check breaker ON. Check SOC >10%. Check load demands. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%202.7kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=11)
What should I do if my 2.7kWh battery is showing high temperature? | Temp >40°C. Action: Check ventilation. Remove heat sources. Allow to cool naturally. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%202.7kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=11)
What should I do if my 2.7kWh battery is showing low temperature? | Temp <0°C. Action: Insulate or move to warmer spot. Allow to warm naturally. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%202.7kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=12)
What should I do if the SOC on my 2.7kWh battery is not updating? | Percentage stuck. Action: Wait 5 mins. Check Power value (is it actually charging?). Restart display. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%202.7kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=12)
What should I do if my 2.7kWh battery is showing abnormal voltage? | Voltage outside 150-160V range. Action: Wait 5 mins. If >165V stop charging. If <145V stop discharging. Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%202.7kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=13)
What should I do if my 2.7kWh battery is showing a communication error? | Cloud symbol disconnected. Action: Check WiFi network and battery settings. Restart display. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%202.7kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=13)
How should I store my 2.7kWh battery if I'm not using it? | Storage: 20-30°C, 30-60% SOC. Action: Turn off breaker. Charge every 2 months to maintain SOC. Inspect before reuse. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%202.7kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=14)
What should I do if my 2.7kWh battery has been over-discharged? | Charge dropped too low (e.g. self-discharge). Action: Charge immediately (within 24h if <5%). If fails, contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%202.7kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=15)
What scheduled maintenance does my 2.7kWh battery need? | Every 6-12 months: • Clean unit • Check cables/connectors • Update firmware • Test capacity Action: Contact installer to schedule.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%202.7kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=15)
How do I access the menu on my 9.4kWh battery and settings? | Tap the menu icon on the home screen to access Information, Setting, WIFI, OTA, and Alarm. Action: Tap menu icon. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=1)
What information can I view about my 9.4kWh battery in the Information section? | Technical details: System Name, Module Count, SN Code, Firmware Version, Voltage, Capacity. Action: No action needed. Reference only. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=1)
What settings can I adjust on my 9.4kWh battery? | Battery: Protocol (must match inverter), Force Charge, Current Limits. Display: Theme, Language, Time, Backlight. Action: Contact installer before changing Protocol/Limits. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=2)
How do I connect my 9.4kWh battery to WiFi? | 1. Go to WIFI menu. 2. Select network. 3. Enter password and Confirm. Action: Connect to WiFi for app monitoring. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=3)
What is OTA and how do I use it on my 9.4kWh battery? | OTA (Over The Air) updates software remotely. Action: Ensure WiFi connected. Select components to update. Do not turn off. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=3)
What does it mean if my 9.4kWh battery shows an alarm on the display? | Alarm: Non-critical issue (Temp, Voltage, Current, etc.) but battery still operates. Action: Note time/status. If persists >30 mins, contact installer.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=4)
What is Alarm Code N2-1 (E-1) on my 9.4kWh battery? | Low Discharge Temperature. Battery too cold to discharge. Action: Allow to warm up. Stop using power. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=4)
What is Alarm Code N2-2 (E-2) on my 9.4kWh battery? | High Individual Cell Voltage. One cell charging too high. Action: Stop charging. Allow to rest 30 mins. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=5)
What is Alarm Code N2-3 (E-3) on my 9.4kWh battery? | Low Individual Cell Voltage. One cell discharging too low. Action: Stop discharging. Force Charge if possible. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=5)
What is Alarm Code N2-4 (E-4) on my 9.4kWh battery? | Large Cell Voltage Deviation. Cells unbalanced. Action: Stop using battery. Allow to rest 1 hour. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=6)
What is Alarm Code N2-5 (E-5) on my 9.4kWh battery? | Low State of Charge. Battery nearly empty. Action: Charge immediately. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=6)
What is Alarm Code N2-6 (E-6) on my 9.4kWh battery? | High State of Charge. Battery overcharged. Action: Stop charging. Use power to reduce charge. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=7)
What is Alarm Code N2-7 (E-7) on my 9.4kWh battery? | High Electrode Temperature. Internal components hot. Action: Stop using. Check ventilation. Allow to cool. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=7)
What is Alarm Code N2-8 (E-8) on my 9.4kWh battery? | High Charging Current. Charging too fast. Action: Reduce charging current setting. Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=8)
What is Alarm Code N2-9 (E-9) on my 9.4kWh battery? | High Discharge Current. Discharging too fast. Action: Reduce load (turn off appliances). Adjust discharge limit. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=8)
What is Alarm Code N2-10 (E-10) on my 9.4kWh battery? | Large Temperature Difference. Uneven cooling/heating. Action: Stop using. Allow to rest and equalize temp.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=9)
What is Alarm Code N2-11 (E-11) on my 9.4kWh battery? | Low Insulation. Electrical isolation problem (safety hazard). Action: Stop using immediately. Turn off breaker. Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=9)
What is Alarm Code N2-12 (E-12) on my 9.4kWh battery? | High Total Voltage. Pack voltage too high. Action: Stop charging immediately. Wait for voltage to drop. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=9)
What is Alarm Code N2-13 (E-13) on my 9.4kWh battery? | Low Total Voltage. Pack voltage too low. Action: Stop discharging. Force Charge immediately. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=10)
What is Alarm Code N2-14 (E-14) on my 9.4kWh battery? | High Charging Temperature. Battery too hot to charge. Action: Stop charging. Allow to cool. Check ventilation. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=10)
What is Alarm Code N2-15 (E-15) on my 9.4kWh battery? | Low Charging Temperature. Battery too cold to charge. Action: Stop charging. Allow to warm up. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=11)
What is Alarm Code N2-16 (E-16) on my 9.4kWh battery? | Rapid Temperature Rise. Serious heating issue. Action: Stop using immediately. Turn off breaker. Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=11)
What is Alarm Code N2-17 (E-17) on my 9.4kWh battery? | High Pack Voltage. Voltage reached upper safety limit. Action: Stop charging. Allow voltage to decrease. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=12)
What is Alarm Code N2-18 (E-18) on my 9.4kWh battery? | Low Pack Voltage. Voltage reached lower safety limit. Action: Stop discharging. Force Charge immediately. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=12)
What is Alarm Code N2-19 (E-19) on my 9.4kWh battery? | High Fuse Temperature. Fuse overheating. Action: Stop using immediately. Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=13)
What is Alarm Code N2-20 (E-20) on my 9.4kWh battery? | High Shunt Temperature. Current sensor overheating. Action: Stop using immediately. Contact installer.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=13)
What are maintenance alarms on my 9.4kWh battery? | Routine care needed (Hardware, Comm, Sensor, Relay faults). Action: Schedule professional service. Battery may still operate but needs attention. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=14)
What should I do if my 9.4kWh battery display is not showing any information? | Display lost power or software issue. Action: Check breaker ON. Wait 30s. Hold power button 5s. Contact installer if blank. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=14)
What should I do if my 9.4kWh battery is not charging? | Battery not storing energy. Action: Check breaker ON. Check power source. Verify comms cable. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=15)
What should I do if my 9.4kWh battery is not discharging? | Home cannot use stored energy. Action: Check breaker ON. Check SOC >10%. Check load. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=15)
What should I do if my 9.4kWh battery is showing high temperature? | Temp >40°C. Action: Check ventilation. Remove heat sources. Allow to cool. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=16)
What should I do if my 9.4kWh battery is showing low temperature? | Temp <0°C. Action: Insulate/heat room. Allow to warm naturally. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=16)
What should I do if my 9.4kWh battery is showing abnormal voltage? | Voltage outside 380-460V range. Action: Wait 5 mins. If >465V stop charging. If <375V stop discharging. Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=17)
What should I do if my 9.4kWh battery is showing a communication error? | Cloud/WiFi symbol disconnected. Action: Check WiFi/router. Restart display. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=17)
What should I do if my 9.4kWh battery shows an insulation fault? | Electrical isolation problem. Action: Stop using immediately. Turn off breaker. Contact installer. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=19)
What should I do if my 9.4kWh battery shows a voltage sensor fault? | Sensor failure. Action: Contact installer for repair.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%209.4kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=19)