## Sheet1
问题
What is the purpose of "Force Discharging" in the EnValt system? | Force discharging allows you to sell stored energy back to the grid during "peak" or high-tariff periods. This maximizes your financial returns by exporting energy when prices are highest.[View Introduction](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Ess%20-%20How%20to%20Setup%20Force%20Discharging%20To%20The%20Grid.pdf#page=1)
How do I access the force discharge settings in the App? | Log in to the EnValt App, tap the Device tab, select your Inverter, and then tap the blue Remote control button at the bottom of the screen .[View Navigation Steps][View Navigation Steps](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Ess%20-%20How%20to%20Setup%20Force%20Discharging%20To%20The%20Grid.pdf#page=2)
Which work mode must be selected to configure discharge times? | To set specific discharge times, you must first change the Work mode to "User-defined" in the Energy Setup menu and tap Confirm.[View Work Mode Setup](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Ess%20-%20How%20to%20Setup%20Force%20Discharging%20To%20The%20Grid.pdf#page=4)
How do I set the specific hours to discharge energy to the grid? | In the Energy Setup menu, locate "Discharge time periods1". Enter your Start Time and End Time (e.g., 16:00 to 19:00) and ensure the Enable switch is turned on.[View Time Configuration](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Ess%20-%20How%20to%20Setup%20Force%20Discharging%20To%20The%20Grid.pdf#page=5)
Do I need to set a "Charge time" when setting up force discharging? | No. You only need to configure the Discharge time. You should leave the Charge time fields as 00:00 - 00:00 to avoid conflicts.[View Time Configuration](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Ess%20-%20How%20to%20Setup%20Force%20Discharging%20To%20The%20Grid.pdf#page=5)
What happens if I don't set a discharge time in User-defined mode? | If no specific discharge time is set, the system will automatically discharge to supply your home loads during any period outside of the set charging time[View Time Configuration](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Ess%20-%20How%20to%20Setup%20Force%20Discharging%20To%20The%20Grid.pdf#page=5)
What is the "Minimum Discharge SOC" setting for? | The Minimum Discharge SOC (%) determines when your battery stops discharging to protect its health. The default value is 5%. Ensure this is set correctly before saving.[View Time Configuration](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Ess%20-%20How%20to%20Setup%20Force%20Discharging%20To%20The%20Grid.pdf#page=6)
Why are my force discharge settings not saving? | If settings don't save, check: (1) Is your internet stable? (2) Is the inverter status Online? (3) Try clicking "Get Data" to refresh before clicking "Set" again.[View Troubleshooting](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Ess%20-%20How%20to%20Setup%20Force%20Discharging%20To%20The%20Grid.pdf#page=7)
Why is the battery not discharging at the scheduled time? | Verify three things: (1) Work mode is set to "User-defined", (2) Start/End times are correct, (3) Battery SOC is higher than the set "Minimum Discharge SOC".[View Troubleshooting](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Ess%20-%20How%20to%20Setup%20Force%20Discharging%20To%20The%20Grid.pdf#page=7)
How can I confirm that force discharging is working? | Check the Home tab on the app during your scheduled discharge time. You should see power flowing from the Battery to the Grid .[View Troubleshooting](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Ess%20-%20How%20to%20Setup%20Force%20Discharging%20To%20The%20Grid.pdf#page=7)
How do I setup my battery to charge from the grid? | You can configure "AC Charging" to charge your battery during off-peak (cheaper) hours. This ensures you have full power for peak usage times.[View Introduction](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Ess%20-%20How%20to%20Setup%20Charging%20From%20The%20App.pdf#page=1)
Where do I find the charging settings in the App? | Go to the Device tab, select your Inverter, and tap the Remote control button. Then select Energy Setup to access the configuration menu.[View Navigation Steps](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Ess%20-%20How%20to%20Setup%20Charging%20From%20The%20App.pdf#page=2)
Which Work Mode is required for grid charging? | You must set the Work mode to "User-defined" in the Energy Setup menu to allow custom charging schedules. Tap Confirm to save.[View Work Mode Setup](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Ess%20-%20How%20to%20Setup%20Charging%20From%20The%20App.pdf#page=4)
How do I set the specific time to charge from the grid? | In Energy Setup, find "Charge time periods1". Enter your Start Time and End Time (e.g., 00:30 to 04:30 for off-peak) and turn on the "Enable" switch.[View Time Configuration](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Ess%20-%20How%20to%20Setup%20Charging%20From%20The%20App.pdf#page=5)
Do I need to change the "Discharge time" settings when charging? | Yes. To prevent conflicts, you must set the "Discharge time periods" to 00:00 - 00:00 when you are prioritizing charging.[View Conflict Prevention](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Ess%20-%20How%20to%20Setup%20Charging%20From%20The%20App.pdf#page=5)
What should the "Maximum Charge SOC" be set to? | Generally, set the Maximum Charge SOC (%) to 100% if you want to fully charge the battery from the grid.[View SOC Settings](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Ess%20-%20How%20to%20Setup%20Charging%20From%20The%20App.pdf#page=6)
Does "AC Charge Enable" need to be turned on? | Yes, ensure that the "AC Charge" (or hybrid charge) function is enabled if your specific inverter model requires a separate toggle besides the time period.[View AC Charge Switch](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Ess%20-%20How%20to%20Setup%20Charging%20From%20The%20App.pdf#page=6)
Why is my battery not charging at the set time? | Check: (1) Is Work mode "User-defined"? (2) Is the AC Charge enabled? (3) Is the grid actually available? (4) Refresh data by clicking "Get Data".[View Troubleshooting](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Ess%20-%20How%20to%20Setup%20Charging%20From%20The%20App.pdf#page=7)
What is the purpose of setting up "Charging From The Grid"? | This feature allows you to charge your battery using grid electricity during off-peak (cheaper) hours, ensuring you have stored power ready for peak usage.[View Introduction](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Ess%20-%20How%20to%20Setup%20Charging%20From%20The%20Grid(1).pdf#page=1)
How do I access the grid charging settings in the App? | Go to the Device tab, select your Inverter, tap Remote control, and then open the Energy Setup menu.[View Navigation Steps](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Ess%20-%20How%20to%20Setup%20Charging%20From%20The%20Grid(1).pdf#page=2)
Which work mode do I need for AC charging? | You must change the Work mode to "User-defined" in the Energy Setup menu to configure specific charging times.[View Work Mode Setup](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Ess%20-%20How%20to%20Setup%20Charging%20From%20The%20Grid(1).pdf#page=4)
How do I set the time for the battery to charge from the grid? | In Energy Setup, find "Charge time periods1". Enter your Start Time and End Time (e.g., 02:00 to 05:00) and switch "Enable" on.[View Time Configuration](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Ess%20-%20How%20to%20Setup%20Charging%20From%20The%20Grid(1).pdf#page=5)
Do I need to adjust "Discharge time" when setting up charging? | Yes. To avoid conflicts, please set the "Discharge time periods" to 00:00 - 00:00 when your priority is charging.[View Conflict Prevention](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Ess%20-%20How%20to%20Setup%20Charging%20From%20The%20Grid(1).pdf#page=5)
What should the "Maximum Charge SOC" be? | If you want to fully charge the battery from the grid, set the Maximum Charge SOC (%) to 100%.[View SOC Settings](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Ess%20-%20How%20to%20Setup%20Charging%20From%20The%20Grid(1).pdf#page=6)
Why is the battery not charging from the grid? | Check if: (1) Work mode is "User-defined", (2) Time periods are correct, (3) AC Charge switch is enabled (if available), and (4) The inverter is Online.[View Troubleshooting](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20Ess%20-%20How%20to%20Setup%20Charging%20From%20The%20Grid(1).pdf#page=7)
What does my battery actually do? | Your EnValt battery is like a rechargeable power bank for your home. It stores electricity so you can use it later, reducing your reliance on the grid and saving you money on your electricity bills. Your battery can work in several ways: 1.With Solar: It stores excess energy generated by your solar panels during the day, which you can then use to power your home in the evening and overnight. 2.With Grid Charging: If you are on a time-of-use electricity tariff with cheaper off-peak rates, your battery can charge from the grid when energy prices are low. You can then use this stored energy during peak hours when electricity is more expensive, significantly reducing your bills. 3.Grid Export: Depending on your tariff and setup, your system can also discharge power back to the grid. Some electricity providers offer schemes where you are paid for the electricity you export, turning your battery into a potential source of income. The amount you earn will depend on your specific tariff and how much energy you export. In essence, your EnValt battery helps you take control of your energy consumption, optimize your usage based on price and availability, and potentially earn money by selling surplus energy back to the grid.
How does my battery work with my solar panels? | When your solar panels produce more electricity than your home is using, the extra energy is used to charge your battery. Once the battery is full, any further excess solar energy can be exported to the grid. In the evening, or when your solar panels aren't generating enough power, your home will draw electricity from the battery instead of importing it from the grid. If you find that you are exporting a lot of power to the grid, you can increase your battery capacity to store more of this energy for later use, rather than exporting it. The EnValt system is modular and scalable. You can have between 1 and 16 batteries on Low Voltage systems (Single Phase), or between 3 and 12 batteries in a single stack on High Voltage systems (Three Phase). This means you can start with a smaller battery and expand it later as your needs grow or as you generate more solar energy.
Can my battery work without solar panels? | Yes, your EnValt battery can be charged directly from the grid. This is particularly useful if you are on a time-of-use electricity tariff with cheaper off-peak rates. You can set your system to charge the battery during these cheaper periods and then use the stored energy during more expensive peak times, which can significantly reduce your electricity costs. You can watch our video here on how to set these settings: https://www.youtube.com/watch?v=nshZKbBQJMU&t=10s
When does my battery charge? | Your battery will typically charge in two main scenarios: when your solar panels are generating surplus energy, or during specific times you've scheduled for it to charge from the grid, such as during off-peak hours when electricity is cheaper.
When does my battery discharge? | Your battery will discharge to power your home whenever your household's energy demand is greater than the energy being produced by your solar panels. This usually happens in the evenings, overnight, or on cloudy days.
How do I know if my battery is working properly? | You can monitor your battery's performance through the EnValt monitoring app & Web-Portal. The app or Web-Portal will show you the battery's current state of charge (SoC), whether it's charging or discharging, and how much energy it's storing. If you notice any unusual behaviour or receive any fault notifications, you should contact your installation company for assistance.
Why is my battery not charging today? | There could be several reasons for this. If you have solar panels, it might be a very cloudy day with low solar generation. It's also possible your battery is already full. If you have scheduled charging from the grid, check that the schedule is set up correctly in the app. If you've checked these things and are still concerned, please contact your installation company.
Why is my battery not discharging? | Your battery will only discharge when your home needs more power than your solar panels are providing. If your solar panels are generating enough to power your home, the battery will remain on standby. It's also possible the battery has reached its minimum discharge level, which is set to protect the battery's health. If you believe there is a fault, please contact your installation company.
Is it normal for my battery to stop and start? | Yes, this is perfectly normal. The battery will charge and discharge in response to your home's energy needs and your solar generation. This means it might switch between charging, discharging, and standby modes multiple times throughout the day.
How full should my battery be by the evening? | Ideally, your battery should be close to 100% full by the evening, especially if it has been a sunny day. This ensures you have plenty of stored energy to power your home overnight. However, the exact level will depend on several factors, including the weather, your energy usage during the day, and any scheduled charge times you may have set. If you have set specific charge time periods (for example, to charge from the grid during cheap off-peak hours), your battery level in the evening will reflect both the solar energy it has stored during the day and the energy it has charged from the grid during your scheduled periods. This combination helps ensure you have maximum energy available for the evening and night ahead.
Does my battery charge from the grid? | Yes, your EnValt battery can be configured to charge from the grid. This is a great feature for homeowners on time-of-use tariffs, as you can take advantage of cheaper electricity rates. You can watch our video here on how to set these settings: https://www.youtube.com/watch?v=nshZKbBQJMU&t=10s
Can I choose when my battery charges from the grid? | Absolutely. Using the EnValt app, you can set specific 'Charge Time Periods' to control when your battery charges from the grid. This allows you to align charging with off-peak electricity tariffs to maximize your savings. You can watch our video here on how to set these settings: https://www.youtube.com/watch?v=nshZKbBQJMU&t=10s
What does State of Charge (SoC) mean? | State of Charge, or SoC, is simply a percentage that tells you how full your battery is. 100% means the battery is fully charged, and 0% means it is empty.
Why does my battery percentage change throughout the day? | Your battery percentage will fluctuate as it charges with surplus solar energy and discharges to power your home. This is a normal part of the battery's operation as it works to optimize your energy usage.
Why does the app show import when I have solar? | The app may show a small amount of energy being imported from the grid even when your solar panels are generating. This can happen for several reasons: Sudden demand spikes: There is a sudden increase in your home's energy demand that is faster than the battery can respond to, or during brief periods of low solar generation. Minimum threshold: Your battery has a minimum charging and discharging threshold of 60W. If your home's energy demand or solar generation is below this threshold, the battery will not charge or discharge. Instead, any small energy flows will be managed directly between your solar panels and your home, with the grid making up any shortfall. This is a safety and efficiency feature that prevents the battery from constantly cycling at very low power levels. Both of these situations result in small amounts of energy being imported from the grid, which is completely normal and nothing to be concerned about.
Why does the app show export when my battery isn't full? | Your system is designed to prioritize powering your home first. However, there might be a slight delay in the system redirecting all surplus solar energy to the battery. Also, if the amount of surplus solar power is very high, a small amount might be exported to the grid simultaneously while the battery is charging. This is normal and ensures the stability of your home's electrical system.
Why does my battery show 100% but stop charging? | Once your battery reaches 100% State of Charge, it will stop charging to prevent overcharging and protect the battery's health. Any excess solar energy generated after the battery is full will be exported to the grid.
Is the app live or delayed? | The EnValt app provides near real-time data, but there can be a very slight delay of a few seconds as the data is transmitted from your system to the app.
Why does my app data look different today? | Your app data will vary from day to day based on several factors, including your energy consumption, the amount of solar energy generated, and any energy you have charged from the grid during lower tariff periods. Different weather conditions and changes in your household's electricity usage will be reflected in the app's graphs and figures: For example, on a sunny day, you may generate more solar energy and charge your battery more from solar. On a cloudy day, you may rely more on energy charged from the grid during off-peak hours, or on energy stored in your battery from previous days. If you have set scheduled charge times to take advantage of cheaper electricity rates, you will see variations in your charging patterns based on when those periods occur. All of these factors contribute to the unique daily patterns you see in your app.
Why is yesterday's data missing? | Occasionally, a temporary loss of internet connectivity can cause a gap in the data reported to the app. If data is consistently missing, there are several things you can check before contacting your installation company. Modem Health: Your internet modem should be restarted once a week to ensure any updates from your internet provider take effect, clear the cache, and remove backed-up data that can slow your modem down. A healthy modem is essential for reliable data reporting. Connected Devices: Too many devices connected to your internet modem can cause other devices to disconnect, including your EnValt dongles. If you have many smart devices or family members using the internet simultaneously, this could interrupt the connection between your system and the app. Try disconnecting some devices and see if the data reporting improves. Band Steering: EnValt dongles are only compatible with the 2.4GHz Wi-Fi band, not 5.0GHz. If your router has band steering enabled, it may automatically switch your modem between 2.4GHz and 5.0GHz, causing your EnValt dongles to lose connection. You should disable band steering in your router settings and ensure your EnValt system is connected to the 2.4GHz band specifically. If you have checked all of these things and data is still consistently missing, please contact your installation company for further assistance.
What does self-consumption mean? | Self-consumption is a measure of how much of your own solar energy you are using to power your home, either directly from the panels or from your battery. A higher self-consumption percentage means you are more energy independent and are saving more money.
What does battery cycle mean? | A battery cycle refers to one full charge and one full discharge of the battery. For example, if you use 50% of your battery's capacity today and recharge it, and then do the same tomorrow, that would count as one full cycle.
Is my battery usage normal? | 'Normal' battery usage will vary greatly depending on your household's energy consumption, the size of your solar array, the weather, and whether you are using off-peak charging from the grid. The EnValt app allows you to track your usage patterns over time, which will help you understand what is normal for your home. For example, if you have set scheduled charge times to take advantage of cheaper off-peak electricity rates, your battery will charge from the grid during those periods in addition to any solar charging during the day. This means your battery usage pattern will be different from a home that only charges from solar. Over time, by reviewing your app data, you will develop a good understanding of your typical daily, weekly, and seasonal patterns, and you will be able to spot when something unusual is happening.
Why is my solar not producing much today? | Solar production is directly affected by the amount of sunlight your panels receive. On cloudy or overcast days, your solar generation will be lower than on bright, sunny days. This is a normal and expected fluctuation.
Does cloud cover stop solar panels working? | Yes, solar panels can still generate electricity on cloudy days, but their output will be reduced. Even on a heavily overcast day, your panels will still produce some energy, just not as much as they would in direct sunlight. The EnValt inverter is particularly efficient at capturing this low-light generation. It turns on with just 40V, which means it can start generating power earlier in the morning and continue working later into the evening compared to many other systems. This extended operating window means you capture more usable solar energy throughout the day, even during cloudy conditions or in winter months when the sun is lower in the sky.
Why does my solar drop suddenly during the day? | A sudden drop in solar production is usually caused by something temporarily blocking the sunlight, such as a passing cloud. You will often see the production level return to normal once the sky is clear again.
Is my solar working in winter? | Yes, your solar panels will still work during the winter months. However, the days are shorter and the sun is lower in the sky, so you should expect to generate less solar energy compared to the summer.
Why is my solar better some days than others? | The performance of your solar panels is entirely dependent on the weather. Sunny, clear days will result in high energy production, while cloudy or rainy days will lead to lower production. This daily variation is completely normal.
Does shading affect my system? | Yes, shading from trees, buildings, or other objects can significantly reduce the amount of electricity your solar panels produce. Traditionally, even if only a small part of a solar array is shaded, it can affect the performance of the entire system. However, all EnValt hybrid inverters come equipped with ShadowScan Technology, which overcomes this limitation. ShadowScan intelligently disregards the shaded parts of the panel(s) and allows the rest of the string to continue operating at its highest production capacity. This means that even if part of your array is in shadow, the unshaded panels will continue to generate at full efficiency, minimizing the impact of shading on your overall system performance. You can watch our video here that explains ShadowScan Technology: https://www.youtube.com/watch?v=uUZO5FtTz0M
Why does my solar peak at midday? | Your solar panels will generate the most electricity when the sun is at its highest point in the sky, which is typically around midday. This is when the sunlight is most direct and intense.
Why does solar production stop in the evening? | Solar panels require sunlight to generate electricity. As the sun sets in the evening, the amount of available sunlight decreases, and your solar production will drop to zero overnight.
Is my solar system underperforming? | If you are concerned about your system's performance, you can check the production data in your EnValt app and compare it to previous days with similar weather conditions. If you notice a significant and consistent drop in performance that cannot be explained by the weather or shading, you should contact your installation company for a system check.
How much money am I saving? | The EnValt app provides detailed information on your energy generation and consumption, which you can use to calculate your savings. By comparing the amount of energy you have self-consumed from your solar and battery system with your electricity tariff rates, you can get a clear picture of how much you are saving each month. Some smart tariffs, like those from Octopus Energy, may also provide tools to help you track your savings.
How long will it take to pay back my system? | The payback period for your system depends on several factors, including your initial investment, your household's energy consumption, your electricity tariff, and the amount of solar energy you generate. Your installation company should have provided you with an estimate, but you can also track your savings over time to get a more accurate picture.
Why hasn't my bill dropped yet? | It can take a full billing cycle for the savings from your new system to be reflected on your electricity bill. If you have recently had your system installed, you may need to wait for your next bill to see the impact. If you have questions about your bill, it's best to contact your electricity provider directly.
Can I be completely off-grid? | While a EnValt system significantly reduces your reliance on the grid, going completely off-grid in the UK is very challenging, especially during the winter months when there is less solar energy available. Most homeowners find that staying connected to the grid provides a reliable backup for when their energy needs exceed their generation and storage capacity.
How much electricity does my house use per day? | The EnValt app tracks your home's total electricity consumption, giving you a clear overview of your daily usage. You can use this information to identify patterns and find ways to be more energy-efficient.
Is my battery big enough for my home? | The ideal battery size depends on your home's energy consumption and your goals. Your installation company will have recommended a battery size based on your needs. If you find that you are consistently using all of your stored energy and still importing a lot from the grid, you may want to discuss the possibility of adding more battery capacity with your installer.
Would adding another battery help? | If your goal is to become more energy independent and you have sufficient solar generation, adding another battery can be a great way to store more surplus energy and further reduce your reliance on the grid. You can discuss your options for expanding your system with your installation company.
How much of my own energy am I using? | The EnValt app will show you your 'self-consumption' rate, which is the percentage of your home's electricity that comes from your own solar and battery system. This is a key indicator of how effectively you are using your generated energy.
Why am I still importing electricity? | It is normal to still import some electricity from the grid, especially on cloudy days, during the winter, or when your household has a particularly high energy demand. Your system is designed to minimize grid imports, but it may not be able to eliminate them entirely.
Can I export energy back to the grid? | Yes, once your battery is fully charged and your solar panels are still generating more energy than your home is using, the excess energy will be exported to the grid. You may be able to earn money for this exported energy through a scheme like the Smart Export Guarantee (SEG). You should speak to your electricity provider to find out more.
Can my battery charge at night on cheap electricity? | Yes, absolutely. The EnValt system allows you to schedule charging times, so you can take advantage of cheaper off-peak electricity tariffs. This is a great way to ensure your battery is fully charged for the day ahead at the lowest possible cost. You can watch our video here on how to set these settings: https://www.youtube.com/watch?v=nshZKbBQJMU&t=10s
What is off-peak charging? | Off-peak charging is when you charge your battery from the grid during times when electricity is cheaper. Many energy providers offer time-of-use tariffs with lower rates overnight. By setting your EnValt system to charge during these off-peak hours, you can store energy cheaply and use it during more expensive peak periods.
Can I use smart tariffs like Octopus? | Yes, the EnValt system is designed to work with smart tariffs, including those from Octopus Energy. The system has a specific 'Octopus Settings Switch' that allows for seamless integration, enabling you to automatically charge your battery when prices are lowest. This can be a powerful way to maximize your savings.
Can my battery avoid peak electricity prices? | Yes. By using the energy stored in your battery during peak price periods, you can avoid drawing expensive electricity from the grid. This is one of the main financial benefits of having a home battery storage system.
How do I optimise my battery for my tariff? | To optimize your battery for your tariff, you should set your charging schedule to align with your cheapest off-peak hours. If you are on a smart tariff like Octopus Agile, the EnValt system can automatically adjust to the changing prices to ensure you are always charging at the most cost-effective times. You can configure these settings in the EnValt app. You can watch our video here on how to set these settings: https://www.youtube.com/watch?v=nshZKbBQJMU&t=10s
What is time-of-use charging? | Time-of-use charging is a strategy where you charge your battery at specific times based on your electricity tariff. The goal is to charge when electricity is cheap (off-peak) and use the stored battery power when electricity is expensive (peak), thereby reducing your overall energy costs. You can watch our video here on how to set these settings: https://www.youtube.com/watch?v=nshZKbBQJMU&t=10s
Can the system automatically switch modes? | Yes, the EnValt system can be configured to automatically switch between different working modes based on your settings. For example, you can set it to prioritize self-consumption of solar power during the day and then switch to a time-of-use mode at night to charge from the grid.
Is it cheaper to charge from the grid or solar? | Charging from your solar panels is always the cheapest option, as the energy is free. However, if you don't have enough solar generation to fully charge your battery, charging from the grid during off-peak hours is the next most cost-effective solution.
Why is my battery showing a warning? | A warning message on your app is the system's way of letting you know about a potential issue. It could be related to a variety of things, from a temporary communication error to a component that needs attention. You should check the details of the warning in the app and, if it persists or you are unsure what it means, contact your installation company for advice. They will be able to diagnose the issue and provide guidance.
Why has my system gone offline? | If your system has gone offline, it usually means it has lost its connection to the internet. You should check that your home's Wi-Fi network is working correctly. If your Wi-Fi is working and the system does not come back online, you may need to restart your router or check the system's connection. Modem Health: Your internet modem should be restarted once a week to ensure any updates from your internet provider take effect, clear the cache, and remove backed-up data that can slow your modem down. A healthy modem is essential for reliable data reporting. Connected Devices: Too many devices connected to your internet modem can cause other devices to disconnect, including your EnValt dongles. If you have many smart devices or family members using the internet simultaneously, this could interrupt the connection between your system and the app. Try disconnecting some devices and see if the data reporting improves. Band Steering: EnValt dongles are only compatible with the 2.4GHz Wi-Fi band, not 5.0GHz. If your router has band steering enabled, it may automatically switch your modem between 2.4GHz and 5.0GHz, causing your EnValt dongles to lose connection. You should disable band steering in your router settings and ensure your EnValt system is connected to the 2.4GHz band specifically. If you have checked all of these things and data is still consistently missing, please contact your installation company for further assistance.
Why has my system stopped working? | If your system has stopped working, it could be due to a fault, a power cut, or a safety feature that has been triggered. Please do not attempt to fix the issue yourself. Your first and most important step is to contact your installation company. They can safely diagnose the problem and get your system back up and running.
What should I do if I see a fault? | If you see a fault message in your app or on the system itself, you should contact your installation company as soon as possible. Provide them with the details of the fault message so they can assist you effectively.
Do I need to contact my installer? | Yes, for any faults, warnings, or performance concerns, your installation company is your first port of call. They are familiar with your specific setup and are best equipped to provide support. If you no longer have an installer, Infinity Innovations Ltd can help you find a qualified installer in your area.
Is it safe to leave the system running? | EnValt systems are built with multiple safety features. In most cases, it is safe to leave the system running even with a minor warning. However, if you see a serious fault message or are concerned in any way, you should contact your installation company for guidance. Important - Do Not Tamper: Never attempt to open, modify, or tamper with any part of the system yourself. Doing so could void both the manufacturer's warranty and the workmanship warranty on your installation. Any tampering or unauthorized modification could compromise the safety and performance of your system and may result in the loss of all warranty coverage. For your safety and to protect your warranty, always contact your installation company if you have concerns about your system or if you see any fault or warning messages.
Will the system shut down if there is a problem? | Yes, the EnValt system is designed to automatically shut down if it detects a serious fault that could compromise safety or damage the system. This is a built-in safety feature to protect you and your home.
Will my battery work in a power cut? | This depends on how your system was installed. A standard EnValt installation will not provide power during a power cut unless you have specifically requested and had a backup power or Emergency Power Supply (EPS) feature installed. If you are unsure, please check with your installation company.
Why did my battery not work during a power cut? | For safety reasons, grid-tied solar and battery systems are designed to shut down during a power cut to prevent sending electricity back to the grid while engineers are working on the lines. To have power during a blackout, you need a special setup called an Emergency Power Supply (EPS), which isolates your home from the grid. To enable this functionality, you will need a EnValt Gateway installed as part of your system. The EnValt Gateway provides Emergency Power Supply capability and can deliver up to 5kWh of power from your batteries during a power cut, provided your batteries have sufficient energy available at the time of the outage. This allows you to continue powering essential circuits in your home even when the grid goes down. If you don't have a EnValt Gateway installed, your system will not operate during a power cut. If you are interested in adding this backup power capability to your existing system, you should contact your installation company to discuss the options and costs involved. You can watch our EnValt Gateway Overview Video here: https://www.youtube.com/watch?v=7Ldr_rYYEiQ
What can I run during a power cut? | If you have a EnValt Gateway installed, you can power your entire consumer unit (fuse box/electrical panel) up to the limit of your available battery energy. The EnValt Gateway can provide up to 5kWh of useable energy from your batteries on a single-phase property, which means you can run most of your home's appliances and circuits simultaneously, rather than being limited to just essential items. The actual duration your system will last during a power cut depends on: How much energy you have stored in your batteries at the time of the outage How much power you are consuming (running high-power appliances will drain the battery faster) Whether your batteries have sufficient charge available By managing your energy consumption during an outage (for example, by avoiding simultaneous use of multiple high-power appliances), you can extend the backup time significantly. The EnValt app will show you your remaining battery capacity, which can help you manage your energy usage during an outage.
How long will my battery last in a blackout? | The duration your battery will last during a power cut depends on how much energy you have stored and how much electricity you are using. By only using essential appliances, you can extend the backup time significantly. The EnValt app will show you your remaining battery capacity, which can help you manage your energy usage during an outage.
Do I need extra equipment for backup power? | Yes, providing backup power during a power cut requires additional hardware. You will need a EnValt Gateway installed as part of your system. The EnValt Gateway safely disconnects your home from the grid during a power outage and provides Emergency Power Supply capability, allowing your batteries to power your home. The EnValt Gateway is not included in a standard installation and must be specified at the time of purchase. If you are interested in adding backup power capability to your existing system, you should contact your installation company to discuss the options, requirements, and costs involved.
Can I upgrade to backup later? | Yes, it is possible to upgrade your system to include backup power at a later date by adding a EnValt Gateway. The EnValt Gateway can be installed at any point after the installation of your EnValt Battery System. However, it is easier and more cost-effective to have the EnValt Gateway installed on the day of your battery system installation, as the necessary electrical work and integration can be done at the same time. If you are interested in adding this feature to your existing system, you should contact your installation company to discuss the options, requirements, and costs involved. They will be able to advise you on the best approach for your specific installation.
Is my battery safe? | Yes, EnValt batteries are designed and built to the highest safety standards. They use Lithium Iron Phosphate (LFP) battery chemistry, which is known for its stability and safety. The system also has multiple layers of protection: 1.Battery Management System (BMS): Continuously monitors temperature, voltage, and current to ensure safe operation at all times 2.Fire Suppression: All EnValt batteries are equipped with built-in fire suppression systems 3.Pressure Valves: Each battery unit is equipped with pressure relief valves to safely manage any internal pressure build-up These comprehensive safety features work together to ensure your battery system is safe to operate continuously, even in the unlikely event of an internal fault. You can be confident that your EnValt battery is one of the safest energy storage solutions available.
Can my battery overheat? | It is very unlikely for your battery to overheat under normal operating conditions. The Battery Management System (BMS) constantly monitors the battery's temperature and will automatically reduce the charging or discharging rate, or shut the system down completely, if it detects temperatures outside of the safe operating range.
Is it safe to leave the battery on all the time? | Yes, the EnValt system is designed to be left on and operate automatically 24/7. It has been engineered for continuous, long-term use with safety as a top priority.
How long will my battery last? | EnValt batteries are designed for a long lifespan. Your battery comes with a 12-year warranty, and it is expected to have a service life well beyond that. The lifespan of the battery will depend on factors such as usage, operating temperature, and how many cycles it completes.
Does charging to 100% damage the battery? | No, charging your EnValt battery to 100% will not damage it. The integrated Battery Management System (BMS) is designed to manage the charging process and protect the battery from being overcharged. It is perfectly safe to regularly charge your battery to its full capacity.
What affects battery lifespan? | The main factors that affect battery lifespan are the number of charge/discharge cycles, the depth of each cycle, and the operating temperature. The EnValt system is designed to manage these factors to maximize the battery's life.
What is covered under my warranty? | Your warranty covers defects in materials and workmanship. For full details of what is covered, please refer to the official EnValt warranty documentation. You can find the warranty documents on the Infinity Innovations website at https://www.infinityinnovations.co.uk/warranty/envalt/.
How long is my EnValt battery warranty? | All EnValt batteries and hybrid inverters come with a 12-year warranty. EV Chargers have a 3-year warranty, and all other accessories have a 2-year warranty.
Who do I contact if there is a fault? | If you experience a fault with your system, your first point of contact should always be your installation company. They are best placed to provide you with technical support. If you do not have an installer, Infinity Innovations Ltd can provide you with details of an installer in your area who can help.
Do I need to maintain my battery? | EnValt batteries are designed to be maintenance-free. You should, however, keep the area around the battery clean and free from obstruction to ensure proper ventilation. Your installer may recommend periodic checks of the system, but there is no regular maintenance required from you as the homeowner.
Can I add more batteries later? | Yes, the EnValt system is modular, which means you can easily add more batteries to increase your storage capacity in the future. If you find that your energy needs have grown, you can contact your installation company to discuss expanding your system. The EnValt system is modular and scalable. You can have between 1 and 16 batteries on Low Voltage systems (Single Phase), or between 3 and 12 batteries in a single stack on High Voltage systems (Three Phase). This means you can start with a smaller battery and expand it later as your needs grow or as you generate more solar energy.
Can I upgrade my inverter? | Upgrading your inverter is possible, but it is a more complex process than adding batteries. If you are considering an inverter upgrade, for example to accommodate a larger solar array, you should discuss your requirements with your installation company. They will be able to advise you on the best course of action.
Can I add EV charging later? | Yes, a EnValt EV Charger can be added to your system at any time. The EV charger integrates seamlessly with your existing EnValt setup, allowing you to charge your electric vehicle with surplus solar energy.
Can I add a heat pump later? | Yes, you can add a heat pump to your home and integrate it with your EnValt system. This can be a very efficient way to power your heating and hot water, especially when using stored solar energy. Harnitek Heat Pumps are fully compatible with the EnValt system and work seamlessly through the EnValt app. They are fully integrated to provide complete end-user remote capability, meaning you can monitor and control your heating and hot water from anywhere using the same app you use for your battery and solar system. This integration allows you to optimize your heating to use cheap off-peak electricity or surplus solar energy, maximizing your savings. You should consult with a qualified heating engineer and your EnValt installer to ensure a smooth integration and to discuss the best heat pump solution for your home.
Will my system work if I move house? | A solar and battery storage system is generally considered a fixture of the property and is usually left behind when you move. It can be a significant selling point for your home. If you wish to take the system with you, you would need to arrange for it to be professionally decommissioned and reinstalled at your new property by a qualified installer.
Can I change my system settings? | Yes, you have control over many of your system's settings through the EnValt app. You can adjust things like charging schedules and operating modes to suit your needs. However, for more advanced settings, it is always best to consult with your installation company to avoid any unintended consequences. You can view our EnValt App Overview Video Here: https://www.youtube.com/watch?v=GD95WB99Ys0&t=11s
Do software updates happen automatically? | Yes, your EnValt system will receive over-the-air (OTA) software updates automatically as long as it is connected to the internet. These updates ensure your system is always running the latest software with the newest features and performance improvements.
Will updates improve performance? | Yes, software updates often include performance enhancements, new features, and improved algorithms for energy optimization. Keeping your system's software up to date is a great way to ensure you are getting the most out of your investment.
Why is my battery charging and discharging at the same time? | It might look like your battery is charging and discharging simultaneously, but this is usually just the system rapidly adjusting to changes in your home's energy load and solar generation. The app may show small, quick fluctuations between charging and discharging as the system works to balance the energy flows in your home. This is normal behaviour.
Why does my battery stop at 95%? | Sometimes, the charging process may slow down and stop just before reaching 100% to protect the battery's health and longevity. This is a normal function of the Battery Management System (BMS) and is nothing to be concerned about.
Why is my battery full but I'm still importing? | This can happen if your home suddenly uses a large amount of power that exceeds the inverter's maximum discharge rate. In this scenario, the battery will supply as much power as it can, and the extra demand will be met by importing from the grid. This is a normal safety feature to ensure your home always has the power it needs.
Why does my system seem quieter some days? | The sound your system makes is usually from the inverter's cooling fans. The fans will run when the inverter is working hard, such as when it is rapidly charging or discharging the battery. On days with lower solar generation or less energy usage, the inverter won't have to work as hard, and the fans may not need to run, making the system seem quieter.
Will resetting my inverter delete my data? | Performing a reset on the inverter could potentially lead to a loss of settings or data. It is strongly recommended that you do not reset your inverter unless specifically instructed to do so by your installation company.
How do I restore my inverter to factory settings? | Restoring your inverter to factory settings is an advanced function that should only be performed by a qualified installer, as it will erase all your custom settings. If you believe your system needs to be reset, please contact your installation company for assistance.
Why is my charging duration set to 60 minutes? | The EnValt app has a "Fast Charge or Discharge" feature available on the main overview page that allows the installer, end user, and EnValt support to set a one-time 60-minute charging or discharging session. If you have activated this setting yourself: You may have done so to take advantage of a random cheap energy period that your energy provider has notified you about, allowing you to quickly charge your battery during that limited window. If your installer or EnValt has activated this setting: They have likely done so because you reported an issue with charging or discharging, and they are testing the system's performance to diagnose the problem. This is a one-time operation, not a permanent setting. Once the 60-minute session completes, the system will return to its normal charging and discharging behaviour based on your configured work mode and schedules. If you have questions about why this setting is active, please contact your installation company or check the app notifications for any messages from your installer or EnValt support.
Can I change how long my battery charges? | You can control when your battery charges by setting 'Charge Time Periods' in the app. This allows you to define specific windows of time for charging from the grid. The actual duration of charging will depend on how much energy your battery needs and the available power from your solar panels or the grid. You can watch our video here on how to set these settings: https://www.youtube.com/watch?v=nshZKbBQJMU&t=10schedules. If you have questions about why this setting is active, please contact your installation company or check the app notifications for any messages from your installer or EnValt support.
Can I change how long my battery charges? | You can control when your battery charges by setting 'Charge Time Periods' in the app. This allows you to define specific windows of time for charging from the grid. The actual duration of charging will depend on how much energy your battery needs and the available power from your solar panels or the grid. You can watch our video here on how to set these settings: https://www.youtube.com/watch?v=nshZKbBQJMU&t=10s
What is the difference between charging and discharging duration? | These are technical settings that help to manage the stability of the system. They do not directly control the overall time your battery spends charging or discharging. Your system will charge and discharge as needed based on your energy production and consumption.
Why does my battery charge for different lengths of time? | The time it takes to charge your battery will vary each day. It depends on how much energy you used the previous night and how much surplus solar energy is available. On a sunny day after a night of low usage, the battery will charge quickly. On a cloudy day or after a night of high usage, it will take longer.
How does charging duration affect my battery lifespan | The EnValt system is designed with a sophisticated Battery Management System (BMS) that automatically optimizes the charging process to protect the battery's health and maximize its lifespan. The system manages charging rates and duration to ensure your battery is well looked after.
What are Charge Time Periods? | Charge Time Periods' are specific time windows that you can set in the EnValt app to tell your system when to charge your battery from the grid. This feature is perfect for anyone on a time-of-use tariff with cheaper off-peak electricity rates, as you can schedule your battery to charge when it's most cost-effective. You can watch our video here on how to set these settings: https://www.youtube.com/watch?v=nshZKbBQJMU&t=10s
How many charge time periods can I set? | The EnValt system allows you to set multiple charge time periods throughout the day. This gives you the flexibility to take advantage of various off-peak windows if your tariff offers them. Please check the EnValt app for the exact number of periods you can set.
Can I set different charge times for different days? | Yes, the system is flexible and allows you to set different charging schedules for different days of the week. This can be useful if your routine changes on weekends, or if your tariff has different off-peak hours on different days. To set up different charging schedules for different days, you can use the AI Mode feature available in the EnValt app or web portal. The AI Mode interface makes it easy to create and manage multiple schedules for different days, allowing you to optimize your charging pattern throughout the week.
What happens if I set overlapping charge time periods? | If you set charge time periods that overlap, the system will simply treat them as one continuous charging window. It will start charging at the beginning of the first period and stop at the end of the last overlapping period.
Can I charge my battery multiple times per day? | Yes, by setting multiple, non-overlapping charge time periods, you can schedule your battery to charge from the grid at several different times during the day. This can be useful for tariffs with multiple cheap electricity windows. You can watch our video here on how to set these settings: https://www.youtube.com/watch?v=nshZKbBQJMU&t=10s
Why is my charge time period set to 04:30-05:00? | Your installer may have set an initial charge time period based on typical off-peak hours. A time like 04:30-05:00 is often when electricity is very cheap. You can adjust this schedule in the EnValt app to match your specific electricity tariff and needs. You can watch our video here on how to set these settings: https://www.youtube.com/watch?v=nshZKbBQJMU&t=10s
Can I change my charge time periods? | Yes, you can easily change your charge time periods at any time through the EnValt app. This gives you full control to adapt your charging schedule if you change energy provider or if your lifestyle changes. You can watch our video here on how to set these settings: https://www.youtube.com/watch?v=nshZKbBQJMU&t=10s
What do the EnValt 5.12kWh battery capacity indicator lights mean? | The four capacity indicator lights (SOC1-SOC4) show the battery percentage. What the lights tell you: •0-25%: SOC1 flashes •25-50%: SOC1 ON, SOC2 flashes •50-75%: SOC1-2 ON, SOC3 flashes •75-100%: SOC1-3 ON, SOC4 flashes •100%: All ON Action: No action needed. Check regularly to monitor levels.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20Non-Heated%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=1)
What does the ALM (Alarm) light mean? | The ALM light is a red indicator for faults. Status: •OFF: Normal •ON (Solid): Fault detected •Flashing: Alert condition Action: If ON or flashing, refer to the troubleshooting section.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20Non-Heated%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=2)
What does the RUN (Operation) light mean? | The RUN light is a green indicator for operation status. Status: •Flashing 1 time: Standby •Flashing 3 times: Charging/Discharging Action: No action needed. Flashing means the battery is working properly.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20Non-Heated%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=2)
What does it mean when my battery is in "Shutdown" state? | Shutdown means the battery is powered off and not operating. Action: Press the power button to start the battery. Indicators should turn on.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20Non-Heated%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=3)
What does it mean when my battery is in "Standby" state? | Standby means the battery is on but not actively charging or discharging. The RUN light flashes once. Action: No action needed. It is ready to operate.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20Non-Heated%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=3)
What does it mean when my battery is in "Alert" state during standby? | A non-critical issue (like temp) was detected. ALM light flashes (Flash 2 pattern). Action: Check troubleshooting. Most alerts clear automatically when conditions normalize.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20Non-Heated%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=3)
What do the battery lights mean when charging normally? | RUN light is ON (solid). Capacity lights show level. Action: No action needed. Allow battery to charge.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20Non-Heated%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=4)
What do the battery lights mean in "Charge Alert" state? | Abnormal condition during charging. Highest capacity light and ALM light flash. Action: Stop charging and allow battery to cool/normalize.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20Non-Heated%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=5)
What do the battery lights mean in "Overvoltage" or "Full Charge" protection? | Battery is full or voltage is high. ALM is OFF, RUN is ON. Action: No action needed. Charging stopped automatically to protect battery.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20Non-Heated%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=5)
What do the battery lights mean in "Overcurrent Protection" (Charging)? | Charging current is too high. Capacity lights flash twice. Action: No action needed. Battery is limiting current to protect itself.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20Non-Heated%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=6)
What do the battery lights mean in "Temperature Protection" during charging? | Too hot or cold to charge. All capacity lights OFF, ALM is ON (solid). Action: Wait for temperature to return to safe range. Charging will resume automatically.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20Non-Heated%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=6)
What do the battery lights mean when discharging normally? | RUN light flashes (Flash 3 pattern). Capacity lights show remaining energy. Action: No action needed. System is powering your home.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20Non-Heated%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=6)
What do the battery lights mean in "Discharge Alert" state? | Abnormal condition during discharge. ALM flashes, RUN flashes. Action: Stop using power and wait for conditions to normalize.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20Non-Heated%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=7)
What do the battery lights mean in "Undervoltage Protection" state? | Voltage is too low to discharge. ALM flashes, RUN is OFF. Action: Allow battery to charge. Discharging will resume when voltage is safe.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20Non-Heated%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=7)
What do the battery lights mean in "Overcurrent or Short Circuit" protection? | Discharge current is dangerously high. ALM is ON (solid), RUN is OFF. Action: Contact your installation company immediately.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20Non-Heated%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=8)
What is "Flash Once" pattern? | Light turns on for 0.25s, off for 3.75s. Meaning: Normal operation or Standby mode.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20Non-Heated%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=8)
What is "Flash Three Times" pattern? | Light flashes 3 times quickly. Meaning: Active operation (Charging or Discharging).[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20Non-Heated%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=8)
What is "Flash Twice" pattern? | Light flashes 2 times. Meaning: Indicates an Alert (ALM light) or Battery Level (SOC lights).[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20Non-Heated%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=9)
What should I do if the battery indicator lights do not come on? | Battery not responding to power button. Action: Press and hold power switch for 2 seconds. If no response, contact installer.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20Non-Heated%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=9)
What should I do if there is no DC output? | attery connected but not providing power. Action: Installer must check if circuit breaker is Closed/On.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20Non-Heated%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=9)
What should I do if there are external communication errors? | Battery cannot talk to Inverter. Action: Installer must check the comms cable between BMS and Inverter for damage.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20Non-Heated%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=10)
What should I do if there are internal communication errors? | Battery modules cannot talk to each other. Action: Installer must check DIP switches and internal cables.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20Non-Heated%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=10)
What should I do if I see an over voltage alarm? | Voltage exceeded safe limits. Action: Wait for voltage to return to normal naturally. If it persists, contact installer.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20Non-Heated%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=11)
What should I do if I see a lower voltage alarm? | Voltage dropped below safe limits. Action: Contact your installation company.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20Non-Heated%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=11)
What should I do if I see a charge over current protection (OCP) alarm? | Charging current too high. Action: Contact your installation company.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20Non-Heated%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=12)
What should I do if I see a discharge over current protection (OCP) alarm? | Discharging current too high. Action: Contact your installation company.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20Non-Heated%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=12)
What should I do if I see a high temperature protection alarm? | Battery too hot. Action: Wait for battery to cool down naturally. Alarm clears automatically.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20Non-Heated%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=12)
What should I do if I see a low temperature protection alarm? | Battery too cold. Action: Wait for battery to warm up naturally. Alarm clears automatically.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20Non-Heated%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=13)
What should I do if I see a cell imbalance alarm? | Cells not charging evenly. Action: Contact your installation company.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20Non-Heated%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=13)
What should I do if I see a MOS protection alarm? | Hardware protection triggered. Action: Contact your installation company.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20Non-Heated%20-%20Low%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=14)
What should I do if my EnValt EV Charger shows "Mains overvoltage" error? | The electrical grid voltage is too high. Action: Wait for AC power to return to normal. The charger will resume automatically. If it persists, contact your installer.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20EV%20Charger%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=1)
What should I do if my EnValt EV Charger shows "Mains undervoltage" error? | The electrical grid voltage is too low. Action: Wait for AC power to return to normal. The charger will resume automatically. If it persists, contact your installer.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20EV%20Charger%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=1)
What should I do if my EnValt EV Charger shows "Grid frequency over" error? | The grid frequency is too high. Action: Wait for power to stabilize. The charger will resume automatically.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20EV%20Charger%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=2)
What should I do if my EnValt EV Charger shows "Grid frequency under" error? | The grid frequency is too low. Action: Wait for power to stabilize. The charger will resume automatically.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20EV%20Charger%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=2)
What should I do if my EnValt EV Charger shows "Phase loss" error? | One or more electrical phases are missing . Action: Have a qualified electrician check the electrical connections to fix the missing phase.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20EV%20Charger%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=3)
What should I do if my EnValt EV Charger shows "LN reverse" error? | The neutral and live wires are reversed (Safety Hazard) . Action: Have a qualified electrician correct the wiring immediately.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20EV%20Charger%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=3)
What should I do if my EnValt EV Charger shows "Ground failure" error? | The ground (earth) connection is faulty or missing . Action: Have a qualified electrician fix the ground connection immediately.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20EV%20Charger%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=4)
What should I do if my EnValt EV Charger shows "Power down" error? | The main power supply has been lost. Action: Check for power outage or tripped breaker. Charger resumes automatically when power returns.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20EV%20Charger%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=4)
What should I do if my EnValt EV Charger shows "Overtemperature" error? | he charger is too hot and has shut down to protect itself. Action: Wait for it to cool down (a few minutes). It will resume automatically.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20EV%20Charger%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=4)
What should I do if my EnValt EV Charger shows "Leakage current" error? | Dangerous current is leaking to ground . Action: Have a qualified electrician check and fix the leakage problem immediately.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20EV%20Charger%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=5)
What should I do if my EnValt EV Charger shows "Load current over" error? | The charging current is too high . Action: Contact your charger supplier immediately to arrange service.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20EV%20Charger%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=6)
What should I do if my EnValt EV Charger shows "PME failure" error? | The protective multiple earthing (PME) system has failed . Action: Have a qualified electrician fix the PME system problem.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20EV%20Charger%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=8)
What should I do if my EnValt EV Charger shows "PME disconnect relay failure" error? | The PME disconnect relay is not working . Action: Contact your charger supplier immediately for service.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20EV%20Charger%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=9)
What should I do if my EnValt EV Charger shows "CP voltage abnormal" error? | The communication signal between charger and vehicle is incorrect . Action: Have a qualified electrician check the CP voltage connections.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20EV%20Charger%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=5)
What should I do if my EnValt EV Charger shows "Vehicle S2 fault" error? | Problem with the vehicle's safety signal. Action: Contact supplier. The issue could be with the vehicle or the charger connection.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20EV%20Charger%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=6)
What should I do if my EnValt EV Charger shows "Vehicle CP abnormal negative voltage"? | Abnormal signal from the vehicle detected. Action: Contact supplier. The issue may be with the vehicle's charging system.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20EV%20Charger%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=7)
What should I do if my EnValt EV Charger shows "PP signal disconnect" error? | The connector is not properly inserted or connected . Action: Ensure the charging cable is fully inserted into your vehicle's port.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20EV%20Charger%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=7)
What should I do if my EnValt EV Charger shows "PP signal abnormal" error? | Abnormal signal from charging connector (loose/faulty) . Action: Check if the connector is damaged and ensure it is fully inserted.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20EV%20Charger%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=8)
What should I do if my EnValt EV Charger shows "Electronic lock failure" error? | The cable lock mechanism is not working. Action: 1. Check for foreign objects blocking the lock. 2. Ensure reliable connection. 3. If persists, contact installer .[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20EV%20Charger%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=8)
What should I do if my EnValt EV Charger shows "Internal error" error? | An internal fault has occurred . Action: Contact your charger supplier immediately to arrange professional service.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20EV%20Charger%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=6)
What should I do if my EnValt EV Charger shows "Communication error with control board"? | Internal communication system failure . Action: Contact your charger supplier immediately for service.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20EV%20Charger%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=9)
What should I do if my EnValt EV Charger shows "Electric meter abnormal" error? | The electricity meter is not working properly . Action: Contact your charger supplier immediately for service.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20EV%20Charger%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=10)
What should I do if my EnValt EV Charger shows "Sensor fault" error? | A temperature, voltage, or current sensor has failed . Action: Contact your charger supplier immediately for service.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20EV%20Charger%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=10)
What maintenance does my EnValt EV Charger need? | Regular maintenance is required for safe operation. Schedule: Every 6 months (more often in harsh environments) . Note: Must be performed by qualified personnel only.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%20EV%20Charger%20-%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=10)
How do I access the menu and settings on my 5.12kWh battery display? | Tap the menu icon on the home screen to access Information, Setting, WIFI, OTA, and Alarm options. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=1)
What information can I view in the Information section? | ou can view: System Name, Stacked Modules count, SN Code, Firmware Version, Battery Voltage, and Capacity. Action: No action needed. Use for reference or warranty claims.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=1)
What settings can I adjust on my 5.12kWh battery? | You can adjust Protocol (must match inverter), Force Charge, Charging/Discharging Limits, and Display settings (Language, Time). Action: Only change Protocol if instructed. Contact installer for other changes.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=2)
How do I connect my 5.12kWh battery to WiFi? | Go to Menu > WIFI, select your network, enter password, and click Confirm. Action: Connect to WiFi to enable remote monitoring via the HanchESS app.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=3)
What is OTA and how do I use it? | OTA (Over The Air) updates battery software remotely. Go to Menu > OTA to update BCU, WIFI, or LCD versions. Action: Perform updates when notified. Do not turn off battery during update.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=3)
What is Alarm Code N2-1 (E-1)? | Low Discharge Temperature. Battery is too cold to discharge. Action: Allow battery to warm up naturally. Stop using power.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=5)
What is Alarm Code N2-2 (E-2)? | High Individual Cell Voltage. Cell imbalance detected during charging. Action: Stop charging. Rest for 30 mins. If persists, contact installer.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=5)
What is Alarm Code N2-3 (E-3)? | Low Individual Cell Voltage. Cell imbalance detected during discharging. Action: Stop discharging. Charge battery immediately. If persists, contact installer.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=5)
What is Alarm Code N2-4 (E-4)? | Large Cell Voltage Deviation. Significant imbalance between cells. Action: Stop all operation. Rest for 1 hour. If persists, contact installer.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=6)
What is Alarm Code N2-5 (E-5)? | Low State of Charge. Battery is nearly empty. Action: Charge immediately (use Force Charge if needed).[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=6)
What is Alarm Code N2-6 (E-6)? | High State of Charge. Battery is fully charged. Action: Stop charging. Discharge battery to reduce level.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=7)
What is Alarm Code N2-7 (E-7)? | High Electrode Temperature. Internal components are hot. Action: Stop operation. Allow cooling. Check ventilation.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=7)
What is Alarm Code N2-8 (E-8)? | High Charging Current. Charging rate is too high. Action: Reduce charging current limit in settings. Contact installer.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=8)
What is Alarm Code N2-9 (E-9)? | High Discharge Current. Discharging rate is too high. Action: Turn off heavy appliances. Reduce discharge limit in settings.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=8)
What is Alarm Code N2-10 (E-10)? | Large Temperature Difference. Uneven heating in battery. Action: Stop operation. Allow to cool. Check ventilation.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=9)
What is Alarm Code N2-11 (E-11)? | Low Insulation. Electrical isolation failure (Safety Hazard). Action: Stop using immediately. Turn off breaker. Contact installer.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=9)
What is Alarm Code N2-12 (E-12)? | High Total Voltage. System voltage too high. Action: Stop charging. Wait for voltage to drop.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=10)
What is Alarm Code N2-13 (E-13)? | Low Total Voltage. System voltage too low. Action: Stop discharging. Charge battery immediately.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=10)
What is Alarm Code N2-14 (E-14)? | High Charging Temperature. Battery too hot to charge. Action: Stop charging. Allow cooling. Check ventilation.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=10)
What is Alarm Code N2-15 (E-15)? | Low Charging Temperature. Battery too cold to charge. Action: Stop charging. Allow to warm up. Check for freezing conditions.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=11)
What is Alarm Code N2-16 (E-16)? | Rapid Temperature Rise. Serious heating issue. Action: Stop all operation immediately. Turn off breaker. Contact installer.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=11)
What is Alarm Code N2-17 (E-17)? | High Pack Voltage. Pack voltage exceeded safe limit. Action: Stop charging. Wait for voltage to decrease naturally.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=12)
What is Alarm Code N2-18 (E-18)? | Low Pack Voltage. Pack voltage dropped below safe limit. Action: Stop discharging. Charge immediately.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=12)
What is Alarm Code N2-19 (E-19)? | High Fuse Temperature. Fuse overheating. Action: Stop all operation immediately. Contact installer.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=13)
What is Alarm Code N2-20 (E-20)? | High Shunt Temperature. Current sensor overheating. Action: Stop all operation immediately. Contact installer.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=13)
What should I do if my 5.12kWh battery display is not showing any information? | Display power lost or software issue. Action: Check breaker is ON. Hold power button for 5 seconds. If blank, contact installer.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=15)
What should I do if my 5.12kWh battery is not charging? | Action: Check inverter settings, battery breaker, and cable connections. Ensure no alarms are active.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=15)
What should I do if my 5.12kWh battery is not discharging? | Action: Check inverter settings and battery SOC (state of charge). Ensure battery is not empty. [View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=15)
What should I do if my 5.12kWh battery shows a communication error? | Communication failure between modules or BMS. Action: Installer must check comms cables and DIP switches.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=17)
What should I do if my 5.12kWh battery shows an insulation fault? | Serious safety hazard detected. Action: Turn off breaker immediately. Contact installer.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=19)
What should I do if my 5.12kWh battery shows a voltage/temperature sensor fault? | Internal sensor failure. Action: Contact installer for sensor repair or replacement.[View Guide](https://hanchuess-file-eu.oss-eu-central-1.aliyuncs.com/Knowledge_data_base/shouce/Hanchu%205.12kWh%20-%20High%20Voltage%20Battery%20Error%20Codes%20QA%20Customer%20Friendly.pdf#page=20)